## New RA
PIMPRI CHINCHWAD MUNICIPAL CORPORATION, PIMPRI-411018
LIST OF NEWELY APPROVED RATE ANALYSIS ( WITHOUT GST)
Sr No. | Zonal Office | Name of Junior Engineer | ITEM DESCRIPTION | RATE in Rs-Ps. | Unit Per | AMOUNT | Date of Approval | Month- Year
1 | H Ward |  | Providing and fixing Glazed vitrified tiles with high glossy mirror finish, of Johnson, Marbonite, Double charge, stain free item code HRJ 2542- Baltoro tile. Or equivalent having size 600mm X 600mm and 8-10 mm thickness and confirming to ISO 13006/EN 14411 Group Bia Chemical resitance tile with chemically tested as Per I. S. standard 105445-13 and ISO 10543-14 of approved make, shade and Pattern including transportation loading, Unloding on site in pcmc limit for Dado or Cladding in requried position and pattern with necessary groove in cm 1;4 and fixing tiles curring filling the joints with Cement including Scaffolding and curing and cleaning etc. complete. as directed by enginnering incharge and spcified (Rate is without GST, Inclusive of all other Taxes) | 898 | Sqm |  | 6.6.2018 | 2018-06-01
2 | H Ward |  | Providing and fixing Glazed vitrified tiles with high glossy mirror finish, of Johnson, Marbonite, Double charge, stain free item code HRJ 2542- Baltoro tile. Or equivalent having size 600mm X 600mm and 8-10 mm thickness and confirming to ISO 13006/EN 14411 Group Bia Chemical resitance tile with chemically tested as Per I. S. standard 105445-13 and ISO 10543-14 of approved make, shade and Pattern including transportation loading, Unloding on site in pcmc limit for Flooring in requried position and pattern with necessary groove in cm 1;4 and fixing tiles curring filling the joints with Cement including Scaffolding and curing and cleaning etc. complete. as directed by enginnering incharge and spcified (Rate is without GST, Inclusive of all other Taxes) | 882 | Sqm |  | 6.6.2018 | 2018-06-01
3 | BRTS |  | Providing & fixing composite Resin Manhole Cover & frame of size 600 X 450mm of load bearing capacity (C-250) 25MT (Inspection Shall be as per guidelines of EN 124:2004) Required replacement warranty for 24 months, including Loading, Unloading Transportation, all other Taxes excluding GST, etc. complete. As directed by Engineer-in-charge | 5000 | No |  | 25.5.2018 | 2018-05-01
4 | BRTS |  | Providing & fixing composite Resin Manhole Cover & frame of size 900 X 450mm of load bearing capacity (C-250) 25MT (Inspection Shall be as per guidelines of EN 124:2004) Required replacement warranty for 24 months, including Loading, Unloading Transportation, all other Taxes excluding GST, etc. complete. As directed by Engineer-in-charge | 7000 | No |  | 25.5.2018 | 2018-05-01
5 | BRTS |  | Providing & fixing composite Resin Manhole Cover & frame of size 600 X 450mm of load bearing capacity (C-250) 25MT (Inspection Shall be as per guidelines of EN 124:2004) Required replacement warranty for 24 months, including Loading, Unloading Transportation, all other Taxes excluding GST, etc. complete. As directed by Engineer-in-charge | 7400 | No |  | 25.5.2018 | 2018-05-01
6 | BRTS |  | Supplying & fixing composite Resin Manhole Cover & frame of size 600 X 600mm of load bearing capacity (C-250) 25MT (Inspection Shall be as per guidelines of EN 124:2004) Required replacement warranty for 24 months, including Loading, Unloading Transportation, all other Taxes excluding GST, etc. complete. As directed by Engineer-in-charge | 9000 | No |  | 25.5.2018 | 2018-05-01
7 | BRTS |  | Supplying & fixing composite Resin Manhole Cover & frame of size 900 X 900mm of load bearing capacity (C-250) 25MT (Inspection Shall be as per guidelines of EN 124:2004) Required replacement warranty for 24 months, including Loading, Unloading Transportation, all other Taxes excluding GST, etc. complete. As directed by Engineer-in-charge | 12000 | No |  | 25.5.2018 | 2018-05-01
8 | BRTS |  | Providing & fixing composite Resin Manhole Strom water drain gully gratings cover & frame of size 600 X 600 mm load bearing capacity (C-250) 25MT (Inspection shall be as per guidelines of EN 124:2004), With replacement warranty of 24 months, including Loading, Unloading Transportaion, all other Taxes excluding GST, etc. Complete as directed by Engineer-in-charge | 8400 | No |  | 25.5.2018 | 2018-05-01
9 | BRTS |  | Providing & fixing composite Resin Manhole Strom water drain gully gratings cover & frame of size 900 X 600 mm load bearing capacity (C-250) 25MT (Inspection shall be as per guidelines of EN 124:2004), With replacement warranty of 24 months, including Loading, Unloading Transportaion, all other Taxes excluding GST, etc. Complete as directed by Engineer-in-charge | 10000 | No |  | 25.5.2018 | 2018-05-01
10 | BRTS |  | Providing & fixing composite Resin Manhole Strom water drain gully gratings cover & frame of size 900 X 900 mm load bearing capacity (C-250) 25MT (Inspection shall be as per guidelines of EN 124:2004), With replacement warranty of 24 months, including Loading, Unloading Transportaion, all other Taxes excluding GST, etc. Complete as directed by Engineer-in-charge | 13500 | No |  | 25.5.2018 | 2018-05-01
11 | B Ward | Saijrao A. Y. | Removing & refxing RCC Precast Kerb stone of all size embeded in CC 1:2:4 with required all necessery excavation & transporting the excavated matarial pointing the exposed faces with CM 1:2 curing etc. complete. As directed by Engineer in charge. | 63.53 | Rmt |  | 16.5.18 | 2018-05-01
12 | B Ward | Saijrao A. Y. | Removing & refixing interlocking concrete paver blocks of all thickness of plain finish/colour or any size & shape, Fixing on 50mm stone grit bedding laid in proper position. Levelling, filling joints with stone dust, compactinng by compactor as per IRC 063, cleaning including loading, unloading, transporting etc. as directed by Engineer in charge. | 197.78 | Sqm |  | 16.5.18 | 2018-05-01
13 |  |  | Excavation in Bituminous/Concrete surface with mechanical cutter & breaker upto required width & depth for fixing pre-cast R.C.C. parablic shape divider/ kerb only including removing & transportation of excavated material anywhere with required labours operator fuel operation & maintenance all taxes and as per drawing, design & specifications etc complete as directed by Engineer in charge | 128 | Rmt |  | 25.5.2018 | 2018-05-01
14 | BRTS | R. D.Suryavanshi | Providing & Fixing RF Switch & Transmitter including RFID Tag on the Bus (inclusive of three year warranity period) (one unit per bus) including all Taxes, transportation, loding, unloading etc. complete as directed by engineer incharge and including all other taxes & excluding GST. | 8000 | No |  | 31.5.18 | 2018-05-01
15 | BRTS | R. D.Suryavanshi | Signages Graphics, providing & applying Graphics for sinages retro reflective vinyal as per IRC 67:2017 With text & graphics in ploter cut nikkalite grade standard vinyl, pasting on ACP sheet as per required design & drawing as directed by engineer in charge all Taxes, transportation, loading unloading etc. complete as directed by engineer incharge and including all other taxes & excluding GST. | 2650 | Sqm |  | 31.5.18 | 2018-05-01
16 | BRTS | R. D.Suryavanshi | Providing & fixing Docking roller of 100mm long fixed in 20mm dia.M.S. bar of 135mm long fixing 11 nos. of roller in 125 X 65 X 5 mm th M.S. C- Channel and fixing the Whole assembly at docking portion including, welding grinding, transportation, loding, unloading etc. complete as directed by engineer incharge and including all other taxes & excluding GST. | 10350 | No |  | 31.5.18 | 2018-05-01
17 | BRTS | R. D.Suryavanshi | Providing & fixing Corrugated galvanised iron 1 mm thick. deckpannel 960mm effective cover width profile with nominal 51 deep ribs with nominal pitch of 316 mm c/c embossment on top of flange provide the mechanical connection between the steel and concrete minimum yield strength of 550 MPA etc. complete as directed by engineer incharge and including all other taxes & excluding GST. | 1496 | Sqm |  | 31.5.18 | 2018-05-01
18 | BRTS | R. D.Suryavanshi | Automatic Doors with RFID tags Supply and errection at all levels and in all positions automatic sliding door in 10 mm thick multi wall Polycorboanate sheet of Lexan or equivalent make in Aluminum frame of 1 inch series by using extruded high grade alloy sections of make jindhal or equivalent and with top and side fixed wall partion in 10mm thick multiwall polycorbonate sheet of flexun or equivalent make. The price is inclusive imported, make door operators with idle pully tooth belt, drive wheel assembly, bumper for soft start and stop, master controller, brushless motor, in built power supply embeded in aluminum profile rail including standard hardware and accessories and with RFID kit to be integrated with the bus stops to ensure of safe and smooth opening of bus doors and the bus station doors including all taxes, excluding GST transportation as directed by Engineer-in-charge. Size of door 2.6m X 2.6m | 250000 | No |  | 31.5.18 | 2018-05-01
19 | BRTS | R. D.Suryavanshi | Providing & fixing 4mm aluminum composite panel of approved colour of finish Fixed over frame made from 38 X19 X2 mm aluminum channel fixed with cleats & fasteners including sealing the joints with baker rod & silicon sealent including transportation, loading, unloding etc. complete as directed by engineer incharge and including all other taxes & excluding GST | 3550 | Sqm |  | 28.5.18 | 2018-05-01
20 | BRTS | R. D.Suryavanshi | Providing and fixing of various diameter stainless steel (grade 304) pipe for bus stop as per drawing & specification , including pipe cutting & bending fixing with plates & anchor fastener erection necessary, welding, grinding, finishing buffing, to stainless steel pipe including transportation, loading unloading etc. complete as directed by engineer in charge and including all other taxes & excluding GST | 423 | Sqm |  | 28.5.18 | 2018-05-01
21 | BRTS | R. D.Suryavanshi | Providing and fixing stainless steel plates (grade 304) for Chairs made of plates etc. including welding, grinding, buffing, Polishing and making curvature and fitting same with necessary stainless steel nuts, bolts transportation, loading unloading etc. complete as directed by engineer in charge and including all other taxes & excluding GST | 660 | Kg |  | 28.5.18 | 2018-05-01
22 | BRTS | R. D.Suryavanshi | Providing and fixing ticketing kiosk of size 1.5m X 0.9m X 2.4m with ticket window opening of 0.3m X 0.9m at height of 0.8 m from the FFL and a door of size 0.9m X 2.3m fixed with 4 nos 75 X4mm hinges, including providing and fixing 4mm aluminum composite panel fixed over frame made from 38 X 19 X 2 mm aluminum channel fixed with cleats and fastening i e Seling the joints with baker rod and silcon sealant, including all fixtures finishes, transportation, loading unloading labour charges with galvanized iron screws, self tapping screws, nuts, bolt and head washers with connecting plates, braces, on square Hollow Section MS Galvanised frame work of 50 X 50 X 3 mm. and two coats of oil paints etc. complete specification as directed by engineer incharge including all other taxes & excluding GST. | 48900 | No |  | 28.5.18 | 2018-05-01
23 | A Ward |  | Providing and fixing 4 mm aluminium composite panel fixed over frame made from 38 x 19 x 2mm aluminium channel fixed with clears and fastners including sealing the joints with Baker rod and silicon sealent. (Aluminium composite panel of Alstone / Aludecor make). Including all taxes and excluding GST. Specification as directed by Engineer in charge or Architect etc complete. | 2750 | Sqm |  | 29.5.18 | 2018-05-01
24 | A Ward |  | Designing, providing fabrication, supplying & fixing in position structural glazing to external face of the building straight in plan consisting of main panel work of vertical & horizontal made out of specially designed extruded 38 x 83mm powder coated alluminium section, anchor to RCC element through adequately designed powder coated MS clamps, bracket using 5mm thick one way reflective make Saint Gobain Glass (Blue/Bronze/Green Reflective Glass) & weather silicon sealant of approved grade (Direct Sticking) Material used Mullion Section: 63 x 83mm Transform Section: 63mm x 38mm Spacer tape, Silicon sealant SSG 4000 ULTRA GLAZED /995 Dow Coring, Silprooof / 789, Glass equivalent 5.00mm thick one way reflective in Blue Colour (Saint Gobain) The joints shall be properly sealed with approved silicon sealant to make the joints watertight and weather proof including fixing over alluminium frame using mechanical fastenrs such as alluminium cleats and fasteners, specially designed frame work with vertical and horizontal members of extruded alluminium section which shall be made of alloy 6063 T6, as approved by the Engineer in charge (as per drawing enclosed) The work shall be complete as per specification and direction of Engineer in charge including all other taxes excluding GST .etc complete | 4820 | Sqm |  | 29.5.18 | 2018-05-01
25 | A Ward |  | Providing & fixing foam based Information board on 2.5mm foam sheet for name plate/board showing information within building premises Letter of size / font engraved in the flim of Green / Blue or any approved colour. Provided with two way tape on back side for fixing. Including all other taxes and excluding GST.etc complete as directed by Engineer in charge. | 2.8 | Sq. Inch |  | 29.5.18 | 2018-05-01
26 | A Ward |  | Providing & fixing click Action furniture lock Europa or equivalent make. Provided wirh 11 pin computerized locking system, Heavy Brass / S.S. dead Bolt of size 25 x 8mm set of two keys whole Body having Anticorrosive treatment. Including all other taxes and excluding GST.etc complete Specification as directed by Engineer in charge | 515 | No |  | 29.5.18 | 2018-05-01
27 | Garden | N. Fendar | Supplying and transporting, Packing & spreading of good quality jogging track soil including the cost of Spreading the soil ocer roughly dressed area in uniform layer, loading, unloding etc. Complete including all taxes without GST As directed by Engineer incharge | 1955 | Cum | 2018-05-28 | 28.5.18 | 2018-05-01
28 | Garden | N. Fendar | Supplying and transporting & spreading of good quality golden sand including the cost of spreading the sand, loading, unloading etc. complete. Including all taxes without GST As directed by engineer incharge. | 5835 | Cum |  | 31.5.18 | 2018-05-01
29 | C Ward | Jannu R. T. | Providing & Fixing of Composite self sloping channel made from orthopthalic resin glass fiber with micro grot embedded on the outer side of drain channel system in M20 grade concrete. Composite channel with inbuilt slope of minimum size of 150mm wide and minimum depth of 50 mm onwards with U shape having wall thickness of 4mm and maximum water carrying capacity volume of 835 LPM, including polyurethane sealant for grouting and joint sealing. Slope of channel is 1:200(5mm drop per meter length of channel) should be covered with Composite designer grating with glass fiber reinforced polyester having minimum size 144 mm x 498mm x 20mm with SMC manufacturing process. Load carrying capacity of designer grating is human and small car load including clearing of surface transportation as directed by Engineer in charge Rate is inclusive of all taxes, excluding GST. | 3520 | Rmt |  | 2018-06-02 | 2018-06-01
30 | C Ward | Jannu R. T. | Providing and applying Indoor/Outdoor all colored Synthetic, all weather surface applied in 5 layers (total thickness 2.50 to 3mm ) as per detail specifications given below over oil, dust & debris free prepared asphalt surface for skating rink including Removing undulations by sutaible soil sterling liqvid and patch binder,1 coats of prime coat & 2 coat of resurfacer & 2 coat of color plus & game line marking turf USA system product approved by international skating federation, including all transportation, leads and lifts up to site within PCMC limits, removing all surplus material and debris and cleaning the same after completion of work. Rate is inclusive of all taxes, testing of material but excluding GST etc. Complete as directed by Engineer-in-Charge | 72 | Sqft |  | 2018-06-02 | 2018-06-01
31 | C Ward | Jannu R. T. | Providing and fixing corrugated FRP sheets 2mm thick embedded with palm tree design cloth for roofing without wind tie including fastening with galvanized iron screw & bolts & lead washers Spec: As directed by Engineer In Charge including all other taxes & Excluding GST. | 918.64 | Sqm |  | 22.5.18 | 2018-05-01
32 | C Ward | Jannu R. T. | Providing and fixing FRP Ridges sheets 2mm thick embedded with palm tree design cloth for over hip or vally roofing including all fastening with galvanized iron screw & bolts & lead washers etc. complete as directed by Engineer In Charge including all other taxes & Excluding GST. | 616.95 | Sqm |  | 22.5.18 | 2018-05-01
33 | C Ward | Jannu R. T. | Providing and fixing seating bench fabricated from M.S. Rectangular tubes of size 50 m x 25 mm x1 mm& fixed on M.S. square tube of 40 mm x 40mm x 1.25 mm which are fixed in CC 1:2:4 and overall size of bench 1500 mm x 500 mm x 900 mm and having approximatelyweight28 kg. with including painting with 1 layer of primer and 2 layer of oil paint as directed by engineer in charge including all other taxes & excluding GST | 4150 | No |  | 22.5.18 | 2018-05-01
34 |  |  | 12 mm Clear toughened glass spider glazing:- Providing and fixing 12mm clear toughened glass in Point fixed glazing system using 20r 4 way spider fittings as called for in design of Ozone/Enox make Fittings will be in SS 316 grade with SS fastners towards wall side and Fixed Raised Head Bolts holding the glass with the Spider fittings. Vertical/Periferal joints sealed with Dow corning clear Sealants 789 Entire system will be structurally stable with leak proof joints. Additional specification as directed by engineer-in-charge, including transportation, Loading unloading etc am plete including all othar taxes & excluding GST. | 9312 | Sqm |  | 2018-06-11 | 2018-06-01
35 |  |  | Providing and fixing MS sliding gate of various size with sliding arrangment as per with 40 X80X14 gauge oiter frame and 40 X40X14 gauge vertical members as per drawing. Einishing Painting etc complete. Additional Specification as directed by engineer -in-charge, including transportation, Loading unloading etc am plete including all othar taxes & excluding GST. | 33972 | No |  | 2018-06-11 | 2018-06-01
36 | A ward | S. P. Patil | Providing and fixing Garware Nylon jalli for building safety made up of 6mm diameter nylon rope and grid of 100mm. Perimater is made up of 12mm diameter nylon rope and fixed at a required level using fastener hooks 60cm centre to centre as directed by engineer in charge including all other taxes excluding GST Tetc complete. | 1050 | Sqm |  | 11.6.18 | 2018-06-01
37 |  |  | Providing and erecting of FRP cubical unit of twin urinal of size 2.4x1.340x2.5m with required 2 doors 0.67x1.91m in size having 3 mm thickness FRP sheet in both side with wooden reinforcement, Overall thickness of door is 35 to 40mm; door having 3 Stainless Steel hinges, 2 handles & inside Mild Steel latch. FRP cubical unit having 2 side panel of 1.2x2m, the panel is 35 to 40 mm thick along with both side 3 mm FRP sheet & inside wooden reinforcement; these panel having 2 FRP windows on each of size 0.4x0.3m, thickness of FRP sheet for windows is 10mm having drilled hole of 25mm diameter. The partition panel have similar dimension that of side panel present at the center. Toilet having overhead FRP tank of thickness 5mm and overall dimension 1.97x1.31x0.335m (height) with 250 liter capacity. Providing overhead water tank having 2 manholes on top of size 0.35x0.35m. All these panel assembly is to be done with riveting & nut bolting. The unit also include of FRP wash basin with proper plumbing accessories of IS standard material and as per drawing including all taxes and excluding GST, including transportation upto site and fixing at site, etc. complete as directed by Engineer in Charge.For Gents :- Providing falcon Water free two urinal pots as per relevant IS standard with cartridge Model- FLAX2255, Water free urine cartridge compatible with all models of free urinals having life cycle average of 25000 uses and of size 4.625 x 3.875 inches (18x10cm) of recyclable ABS material having liquid trap seal meets or exceeds IPC, UPC and NSPC model codes. Mechanical free design having Dual barrier system consist of biodegradable sealant liquid within the cartridge, an O-Ring seal and patented bayonet locking mechanism providing and air-tight installation of the cartridge into the urinal and odor free operation. Pre-measure pack of biodegradable sealant liquid is provided with the cartridge etc. including installation charges and taxes etc complete.
|  |  | FRP Urinal Cubicle For Gents | 102500 |  |  | 25.6.18 | 2018-06-01
|  |  | FRP Urinal Cubicle For Ladies | 86100 |  |  | 25.6.18 | 2018-06-01
38 | D Ward |  | Providing Water free urine cartridge compatible with all models of free urinals having life cycle average of 25000 uses and of size 4.625x3.875 inches (18x10cm) of recyclable ABS material having liquid trap seal meets or exceeds IPC, UPC and NSPC model codes. Mechanical free design having dual barrier system consist of biodegradable sealant liquid within the cartridge, an O-ring seal and patented bayonet locking mechanism providing and airtight installation of cartridge into the urinal and odor free operation. Pre-measure pack of biodegradable sealant liquid is provided with the cartridge etc.,including all taxes and excluding GST. | 2952 | No |  | 25.6.18 | 2018-06-01
39 | Slum | Khondra A.I. | Providing & laying RCC half round pipe I.S. NP-2 Class of 150mm diameter on proper line, level & slope including Pointing in C.M. 1:2 and curing complete etc. dircted by the Engineer inchargre complete. | 120.33 | Rmt |  | 29.6.18 | 2018-06-01
40 | Slum | Khondra A.I. | Providing & laying RCC half round pipe I.S. NP-2 Class of 250mm diameter on proper line, level & slope including Pointing in C.M. 1:2 and curing complete etc. dircted by the Engineer inchargre complete. | 181.74 | Rmt |  | 29.6.18 | 2018-06-01
41 | Slum | Khondra A.I. | Providing & laying RCC half round pipe I.S. NP-2 Class of 300mm diameter on proper line, level & slope including Pointing in C.M. 1:2 and curing complete etc. dircted by the Engineer inchargre complete. | 293.4 | Rmt |  | 29.6.18 | 2018-06-01
42 | Slum | Khondra A.I. | Providing & laying RCC half round pipe I.S. NP-2 Class of 450mm diameter on proper line, level & slope including Pointing in C.M. 1:2 and curing complete etc. dircted by the Engineer inchargre complete. | 628.36 | Rmt |  | 29.6.18 | 2018-06-01
43 | Slum | S.D. Devkar | Providing & Supplying of FRP tolite Cubicals of requited below size with wall panels 40mm thick having wooden rainforcement & 3mm thick plain FRP sheet on both side with smooth finish and the roof projection of 750mm wide on doors which is include structure from M.S. angle 25mm X 25mm & 3mm & Square tube of size 20mm X 20mm X 1.25mm (thick) for purlins as per detailed design and drawing. The door of size 1980mm X 780mm X 35mm (thick) incased in wall with 3 S. S. hinges and 2 Sl standard tadipatti aldrop which fit in panels with F.R.P. shelter of 5mm thick and FRP window having 5mm thick sheet with 15 dia. drilled holes as shown in drawing & overall size 460mm X 640mm. The overhead water tank for two unit having 1850mm X 1115mm size & of height 250mm similarly for unit size changes to 1850mm X 2190mm with height remains same as that of two unit i.e. 250mm similarly for unit size changes to 1850mm X 2190mm with height remains same as that of two unit i.e. 250mm as per detailed specification and drawing the cubical have with premounlded 3mm thick frp toilet pot on the floor including detachable premoulded 3mm thk frap necessary Plumbing & sanitary fittings, electrical switch bpard (300mm X 300mm) including, loading, unloading transportation, installation at site including all other taxes excluding GST as directed by enfineer in chatges as per detailed specification draeing & design.
|  |  | FRP Two Unit Toilet With FRP Pan | 53300 | No |  | 29.6.18 | 2018-06-01
|  |  | FRP Four Unit Toilet With FRP Pan | 114800 | No |  | 29.6.18 | 2018-06-01
44 |  |  | Providing & Supplying of FRP Urinal Cubical of required below size with wall panels 40mm thick having wooden rainforcement & 3mm thick plain F.R.P. sheet on both side with smooth finish and the roof projection of 750mm wide on doors which is include structure from M.S. angle25mm X 25mm X 3mm & Square tube of size 20mm X 20mm X 1.25mm (thick) for purlins as per detailed design and drawing. The door of size 1980mm X 780mm X 35mm (thick) incased in wall with 3 s.s. hunges and 2 sl standard tadipattin aldrop which fit in panelswith F.R.P. shelter of 5mm thick and FRP window having 5mm thick sheet with 15dia. drilled holes as shown in drawings & overall size 460mm X 640mm. The overhead water tank for two unit having 1850mm 1115mm size & of height 250mm similarly for unit size changes to 1850mm X 2190mm with height remains same as that of two unit i.e. 250mm as per detailed specification and drawing the cubical have with premoulded 3 mm thick frp Urinal pot on the wall including detachable premoulded 3mm thk frp trap necessary plumbing & sanitary fittings, electrical swith board (300mm X 300mm) including, loading unloading, transportation, installation at site including all other taxes excluding GST as directed by engineer incharge as per detailed specification, drawing & design
|  |  | FRP Two Unit Urinal Block | 50020 | No |  | 29.6.18 | 2018-06-01
|  |  | FRP Two Unit Urinal Block | 114800 | No |  | 29.6.18 | 2018-06-01
45 | BRTS |  | Providing and Fixing Precast tapering R.C.C. M-40 grade Kerb Type-I (as per deatiled drawing attatched), in R-40 IRC specification (250X150X350) ( Round Kerb-300mm Outer Radius ) embeded 200 mm below Ground neately with fixing in Position Cement Mortor 1:2 etc complete, including redoing the surface as specified and directed by Engineer-In-Charge.including transportation, Loading, unloading and including all other taxes and excluding GST. | 208.02 | No |  | 3.7.18 | 2017-07-01
46 | BRTS |  | Providing and Fixing Precast tapering R.C.C. M-40 grade Kerb Type-II (as per deatiled drawing attatched), in R-40 IRC specification (250X150X350) (Round Kerb-500mm Outer Radius) embeded 200 mm below Ground neately with fixing in Position Cement Mortor 1:2 etc complete, including redoing the surface as specified and directed by Engineer-In-Charge.including transportation, Loading, unloading and including all other taxes and excluding GST. | 248.22 | No |  | 3.7.18 | 2017-07-01
47 | BRTS |  | Providing and Fixing Precast tapering R.C.C. M-40 grade Kerbs Type-III (as per deatiled drawing attatched), in R-40 IRC specification (250X150X350) (Round Kerb-901mm Outer Radius) embeded 200 mm below Ground neately with fixing in Position Cement Mortor 1:2 etc complete, including redoing the surface as specified and directed by Engineer-In-Charge.including transportation, Loading, unloading and including all other taxes and excluding GST. | 718.4 | No |  | 3.7.18 | 2017-07-01
48 | BRTS |  | Providing and Fixing Precast tapering R.C.C. M-40 grade Kerbs Type-IV (as per deatiled drawing attatched), in R-40 IRC specification (250X150X350) (Round Kerb-500mm Outer Radius) embeded 200 mm below Ground neately with fixing in Position Cement Mortor 1:2 etc complete, including redoing the surface as specified and directed by Engineer-In-Charge.including transportation, Loading, unloading and including all other taxes and excluding GST. | 393.58 | No |  | 3.7.18 | 2017-07-01
49 | BRTS |  | Providing and Fixing Precast tapering R.C.C. M-40 grade Kerbs Type-V (as per deatiled drawing attatched), in R-40 IRC specification (250X150X350) (Round Kerb-300mm Outer Radius) embeded 200 mm below Ground neately with fixing in Position Cement Mortor 1:2 etc complete, including redoing the surface as specified and directed by Engineer-In-Charge.including transportation, Loading, unloading and including all other taxes and excluding GST | 302.28 | No |  | 3.7.18 | 2017-07-01
50 | BRTS |  | Providing and Fixing Precast tapering R.C.C. M-40 grade Kerb Type-VI-A Without weepholes (as per deatiled drawing attatched), in R-40 IRC specification (1000 x 250-150X350) embeded 200 mm below Ground neately with fixing in Position Cement Mortor 1:2 etc complete, including redoing the surface as specified and directed by Engineer-In-Charge.including transportation, Loading, unloading and including all other taxes and excluding GST. | 561.09 | Rmt |  | 3.7.18 | 2017-07-01
51 | BRTS |  | Providing and Fixing Precast tapering R.C.C. M-40 grade Kerb Type-VI-B With Weepholes of Pvc pipe 50mm dia (as per deatiled drawing attatched), in R-40 IRC specification (1000 x 250-150X350) embeded 200 mm below Ground neately with fixing in Position Cement Mortor 1:2 etc complete, including redoing the surface as specified and directed by Engineer-In-Charge.including transportation, Loading, unloading and including all other taxes and excluding GST. | 598.21 | Rmt |  | 3.7.18 | 2017-07-01
52 | BRTS |  | Providing and Fixing Precast tapering R.C.C. M-40 grade Kerbs Type-VII (as per deatiled drawing attatched), in R-40 IRC specification (250x75X300 ) ( Straight Kerb-250mm length ) embeded 150 mm below Ground neately with fixing in Position Cement Mortor 1:2 etc complete, including redoing the surface as specified and directed by Engineer-In-Charge.including transportation, Loading, unloading and including all other taxes and excluding GST. | 132.96 | No |  | 3.7.18 | 2017-07-01
53 | BRTS |  | Providing and Fixing Precast tapering R.C.C. M-40 grade Kerbs Type-VIIl (as per deatiled drawing attatched), in R-40 IRC specification (75X300 ) ( Round Kerb-150mm Outer Radius ) embeded 150 mm below Ground neately with fixing in Position Cement Mortor 1:2 etc complete, including redoing the surface as specified and directed by Engineer-In-Charge.including transportation, Loading, unloading and including all other taxes and excluding GST. | 119.69 | No |  | 3.7.18 | 2017-07-01
54 | BRTS |  | Supply & Fixing precast cement concrete cylindrical Bollard of size (as per detaild drawing attatched) & 950mm height (650mm above finish level of 150mm Diameter manufactured by M-30 grade of concrete (with VSI quality standard Artificial Sand) by vibro compaction process using FRP moulds & painting with approved weather sheild paint of approved colour & texture, single & Double groove cut inside of 10mm width and 75mm wide placed at 150 mm from top finish (Reflective fluorescent tape should be sticked at 75mm grooved placed) as per detal drawing as directed by engineer in charge. including transportation ,Loading, unloading and including all other taxes and excluding GST. | 1006 | No |  | 3.7.18 | 2017-07-01
55 | F Ward | p.bhasarkar | Providing and fixing in position precast R.C.C. median/central verge IN m 25 Grade without SCADA of parabolic shape of total height 650mm (450mm above RTL) and breadth 250mm at bottom and 85mm @ top and length of 0.45m precast with wntire surface in M-25 including reunforcement of TOR @ 225 c/c (vertical ring) 9 bars of 8.00mm dia longitudinai with 50mm dia weep hole at 1000 mm c/c including curing, transportation, fixing in position etc. compelete in C.M 1:3 25mm thick joint as per the approved drawing designand specification and reinstating the surgace as directed by engineer in charge. | 1051 | Rmt |  | 16.5.18 | 2018-05-01
56 | C Ward |  | Providing and fixing in position precast steel fibre reinforced concrete (SFRC) Perforated Frame cover of M 25 grade without SCADA as per approved drawing, design & specifications including loading unloading, transportation, all taxes etc. complete as directed by engineer incharge (40 tonnes capacity) size 1400 X 1100mm | 13477 | No |  | 6.7.18 | 2018-07-01
57 | C Ward |  | Providing and fixing in position precast steel fibre reinforced concrete (SFRC) Perforated Frame cover of M-25 grade without SCADA as per approved drawing, design & specifications including loading unloading, transportation, all taxes etc. complete as directed by engineer incharge (40 tonnes capacity) size 1400 X 1400mm | 14800 | No |  | 6.7.18 | 2018-07-01
58 | Garden |  | Item:-Nevasa stone Flooring Providing and fixing at work site Soft compacted basalt (Nevasa) stone of size 300x300x50mm for Cladding as directed by Engineer in charge. Including C.m bed for 20mm thk in cm 1:4 with filling joints, curring, cleaning loading, unloading, transportation and including all other taxesand excluding GST complete as directed by engineer incharge etc. Quantity considered:- 1.08 sq.m. (calculation of 1.08sq.m. :- 0.3+0.3+0.3+0.1+(4x0.01)=1.04 ,therefore (1.04x1.04)=1.0816 i,e. 1.08 sq.m. where ,0.3+0.3+0.3+0.1:- for stone , (4x0.01):- for joint ) | 5680 | Sqm |  | 2018-06-20 | 2018-06-01
59 |  |  | Item:-Nevasa stone Flooring Providing and fixing at work site Soft compacted basalt (Nevasa) stone of size 300x300x50mm for flooring with dressing as directed by Engineer in charge. Including C.m bed for 20mm thk in cm 1:6 with filling joints, curring, cleaning loading, unloading, transportation and including all other taxesand excluding GST complete as directed by engineer incharge etc. Quantity considered:- 1.08 sq.m. (calculation of 1.08sq.m. :- 0.3+0.3+0.3+0.1+(4x0.01)=1.04 ,therefore (1.04x1.04)=1.0816 i,e. 1.08 sq.m. where ,0.3+0.3+0.3+0.1:- for stone , (4x0.01):- for joint ) | 5524 | Sqm |  | 2018-06-20 | 2018-06-01
60 | Garden |  | Item:-Provinding and fixing at work site Ruby Red Granite for 20mm cladding in required position on cement mortar 1:1 including scaffolding cement float, filling joints with cement slurry curing, Rubbing, Polishing, polishing, cleaning, loading, unloading, transportationand including all other taxes excluding GST complete as directed by engineer incharge etc. Quantity Considered:- 1.00 Sqm. | 3236 | Sqm |  | 2018-06-20 | 2018-06-01
61 | Garden |  | Provinding and fixing At work site Yellow Jaiselmer stone for cladding 20 mm thck in required position Cement mortar 1:4 scaffolding filling joints with neat cements slurry, polishing & cleanning. loading, unloading, transportationand including all other taxes ,excluding GST, etc. complete as directed by engineer incharge. Quantity Considered:- 1.00 Sqm. | 2151 | Sqm |  | 2018-06-20 | 2018-06-01
62 | Garden |  | Fundermax cladding Providing, Supplying and fixing at work site 6mm thick Fundermax make max exterior 'F' quality 1.30 x 2.80m board with proper Aluminium box framing of size 35 x 35x 2mm supported with necessary brackets of required size including all labour, wastage, transport, all other taxes and excluding GST, leads, lifts, scaffolding, fixture, fittings,loading, unloading and necessary arrangement etc. complete as directed by engineer incharge of the work. | 7550 | Sqm |  | 2018-06-20 | 2018-06-01
63 | Garden |  | Item:-Providing & fixing at work site red (Lal killa) granite for treads & risers of steps & staircases with nosing for the treads molded as per drawing or as dircted on a bed of 1:4 cement mortar including filling joints with colour pegment to match the colour of red granite including curing polishing & cleaning , transportation, loading, unloading, and all other taxes excluding GST, etc Complete as directed by engineer incharge. | 2860 | Sqm |  | 2018-06-20 | 2018-06-01
64 | Garden |  | Providing and laying at work site ferro-crete stone effect cement plaster of 60mm average thickness to exsting base/external surface as per approved desing in cm 1:2 with 4.50kg of flyash and 1ltr of waterproof compound per bag of cement including red & yellow oxide 200 grams per bag cement with chiken mesh one coat of accrylic emulsion waterproof paint,necessary ,labour, curing,preparing the surface and cleaning the worksite as per the detailed drawing and including all other taxes and excluding GST,etc. Complete as directed by the engineer incharge | 1963 | Sqm |  | 2018-06-20 | 2018-06-01
65 | Garden |  | White Pebbles Providing and laying at work site rounded white pebbles from approved quality pebbles being of minimum size 25mm dia. Being free of dust, dirt and other impurities including loading, unloading all other taxes and excluding GST, transportation,etc. complete as specified by Engineer in charge | 176 | Kg |  | 2018-06-20 | 2018-06-01
66 | Garden |  | Providing and fixing at work site FRP (Fibre Reinforced Plastic) Butterfly Benches sculpture of size4'X5'x18’’ having 3 layers of FRP with total thickness of 3-5mm each as per detailed drawing & design and natural colour pigments with duco paint & PU coating over it as approved by the Engineer In charge of the work. The fibre sculpture consists of 3 layers with all necessary procedures of manufacturing including clay model to fibre product. The Butterfly Benches is of moulded FRP into various live appearances & having MS ature as required & further treatment and special hand effects to get finished look. The item includes all labour, tools, equipment, scaffolding, transportation, loading & unloading, all other taxes and excluding GST etc. complete with proper fixtures and fasteners, necessary for installation and as directed by the Engineer In charge of the work. | 11796 | No |  | 2018-06-20 | 2018-06-01
67 | Garden |  | Providing and fixing at work site FRP (Fibre Reinforced Plastic) Dinosaur Dustbin sculpture of size 4'X2.5’ having 3 layers of FRP with total thickness of 3-5mm each as per detailed drawing & design and natural colour pigments with duco paint & PU coating over it as approved by the Engineer In charge of the work. The fibre sculpture consists of 3 layers with all ecessary procedures of manufacturing including clay model to fibre product. The Dinosaur Dustbin is of moulded FRP into various live appearances & having MS armature as required & further treatment and special hand effects to get finished look .The item includes all labour, tools, equipment, scaffolding, transportation, loading & unloading, all other taxes and excliding GST etc. complete with proper fixtures and fasteners, necessary for installation and as directed by the Engineer In charge of the work. | 14012 | No |  | 2018-06-20 | 2018-06-01
68 | Garden |  | Providing and fixing at work site FRP (Fibre Reinforced Plastic) Peacock sculpture of size 12’X5’ having 4 layers of FRP with 3-5mm thickness of each layer as per detailed drawing & design and natural colour pigments with duco paint & PU coating over it as approved by the Engineer In charge of the work. The fibre sculpture consists of 4 layers with all necessary procedures of manufacturing including clay model to fibre product. The Peacock is of moulded FRP sheet into various live appearances & having MS armature as required & further treatment and special hand effects to get finished look. The item includes all labour, tools, equipment, scaffolding, transportation, loading & unloading, all other taxes and excluding GST etc. complete with proper fixtures and fasteners, necessary for installation and as directed by the Engineer In charge of the work. | 293695 | No |  | 2018-06-20 | 2018-06-01
69 | Garden |  | Providing and erecting at work site FRP casting for Column for made out of 8mm thick in FRP caste with colour grooves designed to hide structural supports inside the grooves to bind it to the RCC columns from outside by FRP putti and screws including fabricating, welding, painting structural members placed over RCC structure which are exposed colouring the casing in Duco paint in antique look, including transport, loading, unloading onsite installation with all other taxes and excluding GST etc. within the PCMC limit etc. complete as per the sketch and drawing approved by architect and as directed by engineer in charge. (of measurement will be Surface area). | 1900 | Sqft |  | 2018-06-20 | 2018-06-01
70 | Garden |  | Providing and fixing at work site of FRP shelter elliptical dome type 15' on length side and 12' on width side at 8' height, roof made from 3mm thk FRP sheet supported using steel structure using MS sec on two pillars of MS pipe of 6" dia with 30' long 1.5 ft wide round (elliptical) bench made out of 3mm FRP supported by steel structure and railing made out of 3mm thk FRP sheet of 3' height with 3 entry opening of 4'-6' width with concealed Rain Drain Water Collection system and a news paper stand as per drawing specification including transport, loading, unloading,site installation,with all other taxes and excluding GST at site etc. complete as directed by Engineer incharge. | 350000 | No |  | 2018-06-20 | 2018-06-01
71 | Garden |  | Providing and erecting at work site FRP Dome of width 4610mm, length 16000mm with central height dia. 2000mm made out of 2mm thick transparant fiberglass sheet with colour grooves,designed to hide the structural supports inside the grove. The dome is reinforced using angle ISA 50mmx50mmx6mm stiffener ogf 5 nos. and transverse stiffeners of 9 nos. proper drainage of water at ends on the width side using the existing civil gutters, fixing in position with MS base plate of 100mmx10mm with 4nos. of fasterner of length of length 2.5" per plate including fabricating, welding and transport, loading, unloading,site installation,with all other taxes and excluding GST at site etc. complete as directed by Engineer incharge. | 320000 | No |  | 2018-06-20 | 2018-06-01
72 | Garden |  | Providing and fixing at work Umbrella of 5000mm dia. And height 4280mm both site finished in 2mm thick colour fiberglass sheet with designed to hide the structural supports insite the groove. The umbrella is reinforced using M.S. Pipe 12Nos. Of 40NB equispaced circumferentiall. The whole umbrella is supported on M.S. Cone made in 5mm sheet with M.S.base plate of 10mm thick and 300 mm dia. Supported on M.S. Pipe of 150NB and 3000mm in length with every exposed structural part coated with 2mm thick FRP as per detailed drawing attached including fabricating, welding and transport, loading, unloading,site installation,with all other taxes and excluding GST at site etc. complete. as directed by Engineer incharge. | 97750 | No |  | 2018-06-20 | 2018-06-01
73 | Garden |  | roviding and Fixing at work site of POP UP SPRAY 4" size (SPRINKLER) of rigid plastic on site. It is manufactured from special grade vergin polymers. Parts resistent to corrosion in treated recycled water containing chlorine and other chemicals. Strong stainless stell spring provides reliable stem retraction and withstands corrosion.Rate is inclusive of all other taxes and excluding GST, transportation, loading, unloading, laying, all reuired labour etc. complete as directed by engineer in charge .Technical specification as follows. Technical specification: 1) working pressure:1-4 kg/sqm. 2)Discharge flow:0.15-0.85 cum/Hr. 3)Radius:3 to 5.5 m 4)Inlet size: 1/2" female threaded inlet 5)Rugged ribbing case for maximum strength and durability. 6)part and full circle in one head | 315.65 | No |  | 2018-06-20 | 2018-06-01
74 | Garden |  | Providing and Fixing at work site of POP UP SPRINKLER 9.5" of rigid plastic on site. The Pop sprinkler powerful throw permits maximum spacing and offers superior close in watering and uniform water distribution. Low pressure loss and efficient, staight through flow design conserve energy and are ideal for dirty water application. Non strippable gear drive function. Rate is inclusive of all type of taxesand excluding GST, transportation, loading, unloading, laying, all reuired labour etc.complete as directed by engineer in charge. Technical specification as follows. Technical specification: 1) working pressure:2-4 kg/sqm. 2)Discharge flow:0.35-1.86 cum/Hr. 3)Radius:6 to 13 m 4)Inlet size: 1/2" female threaded inlet 5)Rugged ribbing case for maximum strength and durability. 6)part and full circle in one head | 1545 | No |  | 2018-06-20 | 2018-06-01
75 | Garden |  | Providing, laying & jointing on site UPVC pipes of SCH 80 conforming to IS:1239 of approved make of 40mm diameter and suitable for the respective working pressures with all fittings and accessories e.g. couplings, tees bends, reducers, screwed adapters, flanged tail pieces etc. The item includes necessary excavation, fixing, fittings, refilling trenches, all labour, tools, equipment, transportation, loading & unloading, all other taxes and excluding GST etc. complete with proper fixtures and fasteners, necessary for installation as per drawing and specification attached and as directed by the Engineer In charge of the work. | 590 | Rmt |  | 2018-06-20 | 2018-06-01
76 | Garden |  | Providing, laying & jointing on site UPVC pipes of SCH 80 conforming to IS:1239 of approved make of 32mm diameter and suitable for the respective working pressures with all fittings and accessories e.g. couplings, tees bends, reducers, screwed adapters, flanged tail pieces etc. The item includes necessary excavation, fixing, fittings, refilling trenches, all labour, tools, equipment, transportation, loading & unloading, all other taxes and excluding GST etc. complete with proper fixtures and fasteners, necessary for installation as per drawing and specification attached and as directed by the Engineer In charge of the work. | 250 | Rmt |  | 2018-06-20 | 2018-06-01
77 | Garden |  | Providing & laying on site of flexible black tubing of 6mm size of approved make. Drip tubing is made from polyethylene and has emitters that are placed at intervals along the tube that correspond with the placement of each plant.Drip tubing is UV damage and algae growth black in colour 6 mm size with all fittings and accessories. The item includes all labour, tools, equipment, transportation, loading & unloading, all other taxes and excluding GST etc. complete with proper fixtures and fasteners, necessary for installation and as directed by the Engineer In charge of the work. | 18 | Rmt |  | 2018-06-20 | 2018-06-01
78 | Garden |  | Providing and fixing at work site Dripper of 4 liter per hour discharge 75 cm center to center on the LLDPE lateral, Jain make Rate is excluding GST transportation, loading, unloading, laying, all reuired labour and all other taxes etc. as directed by the Engineer In charge. | 3.16 | No |  | 2018-06-20 | 2018-06-01
79 | Garden |  | Providing and Fixing SAND FILTER (GRAVEL FILTER) with on site. It shoud be vertical with mushroom fitted on plate seperating sand bed and clean water chamber with a sand bed depth of about 500mm. It shoud be installed with vaccum breakers to prevent vaccum inside the filter. The shell should be provided with a drain plig at bottom to drain out fine sediments and aside hand hole to facilate easy removal of sand from the shell whenever the sand needs replacement. The filter housings should be protected by an extra durable epoxy paint from outside and black bituminous paint from onside. Transportation, loading, unloading, laying, all reuired labour etc.and all other taxes and excluding GST, As directed by Engineer incharge. Technical Specification. 1) IS 12785:1994 2) pressure rating 10 bar. 3) Inlet outlet size- 2" 4) Filtration 500 micron 5) Discharge -25000 LH (as per sizes) 6) Material : Mild steel 7) Thickness : 4mm to 6 mm. | 29990 | No |  | 2018-06-20 | 2018-06-01
80 | Garden |  | Providing & fixing on site gun metal gate valve of approved make of 63mm diameter,having wall thickness of 7mm. Pressure rating of 10 bar. The item includes all labour, tools, equipment, transportation, loading & unloading, all other taxes and excluding GST complete with proper fixtures and fasteners, necessary for installation as per drawing and specification attached and as directed by the Engineer In charge of the work. | 7900 | No |  | 2018-06-20 | 2018-06-01
81 | Garden |  | Chairs for staff : Providing & planning in position at site chair of Comfort make with gas Lift Technology for height adhjustment with Frame in wooden hot pressed ply and 40 high density foam for seat and 32 high density foam for back with cotton cloth for cover of approved desingn color. style by the engineer in charge All chairs fitted with fiber handles and revolving type PU wheets All chairs are to Protected upto the completion of work etc. complete incluiding all other taxes, loading, unloading , transportation as directed by Engineer in charge. | 2500 | No |  | 2018-06-20 | 2018-06-01
82 | BRTS | A.G.Dadhe | Protection Coating: Providing & applying transparent AC-GLASSCOAT/Sulphate based by spray process. Work shall be done as per the manufacturer's instruction, Apple Chemie. (Note: Cost of scaffolding shall be paid separately Complete as directed by engineer incharge and including all other taxes & excluding GST. (Appling of UCR Masonry) | 350 | Sqm |  | 2018-07-09 | 2018-07-09
83 | BRTS | A.G.Dadhe | Cleaning & Surface Preparation : Surface of the Bridge shall be cleaned with AC-CLEANNER/or equivalent to remove all old stains and dirt. Simple wire brushing and cleaning wherever necessary shall be done, prior to clear application. The Pointing shall be cured for minimum 7 days before application of protection coat. complete as directed by engineer incharge and including all other taxes & excluding GST. | 85 | Sqm |  | 2018-07-09 | 2018-07-09
84 | E Ward |  | Rate Analysis for Vinyl Flooring for indoor sport floor thk. 6.7mm Providing and fixing Vinyl Flooring for indoor sport floor as per following - *Thickness 6.7 MM Vinyl indoor sport floor, EN 14904 (category P1), FIBA & BWF Certified *Weight 3.8 kg/m2 *Width of Roll 2 Meter *Standard Roll Length : 15 ± 10% *Sound Insulation : 22 DB *Having Sports Properties (e.g. Shock absorption & Ball rebound) *Technical Properties (e.g. Dimensional stability, Colour fastness, Chemical & Abrasion resistance *Easy to Clean. * 10 years warranty for any product & application Defect & its shall repairs at no cost by the contractor within a warranty period Including all Labour & all type of Taxes, without GST, Transpotation, Loading, unloading, etc. Complete as directed by Engineer incharge | 4550 | Sqm |  | 23.7.18 | 2018-07-09
85 | E Ward |  | Rate Analysis for Vinyl Flooring for indoor sport floor thk. 4 mm Providing and fixing Vinyl Flooring for indoor sport floor as per following - *Thickness 4.0 MM Vinyl indoor sport floor, EN 651 Vinyl floor covering for indoor sport purposes Meets the requirement of EN 14904 on a sub-construction. *Weight 2.3 kg/m2 *Width of Roll 2 Meter *Standard Roll Length : 20 ± 10% *Having Sports Properties (e.g. Ball rebound & Specular Gloss) *Technical Properties (e.g. Dimensional stability, Colour fastness, Chemical & Abrasion resistance *Easy to Clean *5 Years Warranty for any product & application Defect & its shall repairs at no cost by the contractor within a warranty period Including all Labour & all type of Taxes, without GST, Transpotation, Loading, unloading, etc. Complete as directed by Engineer incharge | 2175 | Sqm |  | 23.7.18 | 2018-07-09
86 | E Ward |  | Rate Analysis for EB Titanium 15 - Multisports Truf Providing and fixing EB Titanium 15 - Multisports Truf as per following - * Material/ Dtex - PE8800 * Strcuture - Fibrillated * Pile Height (mm) - 15 mm * Tape Thickness - 950 micron (+-) 10 micron * Tape Width - 10 mm (+-) 0.5 mm. * Gauge (inch) - 3/16 inch * Stitches /m2 - 9450 * Backing - PP + Mesh scrim inlay * Color - Emerald Green * SBR Black Rubber Granuels 12 kg/m2, Tape & Glue According to layout plan installation. * Installationof Truf, infill of silica sand & Granuels, Brushing & Line Marking. 3 years of warranty for any product & application Defect & its shall repairs at no cost by the contractor within a warranty period Including all Labour & all type of Taxes, without GST ,Transpotation, Loading, unloading, etc. Complete as directed by Engineer incharge | 2280 | Sqm |  | 23.7.18 | 2018-07-09
87 | E Ward |  | Providing and fixing EB Titanium 50 - Multisports Truf as per following - * Material/ Dtex - PE8800 * Strcuture - Fibrillated * Pile Height (mm) - 50 mm * Tape Thickness - 950 micron (+-) 10 micron * Tape Width - 10 mm (+-) 0.5 mm. * Gauge (inch) - 3/16 inch * Stitches /m2 - 9450 * Backing - PP + Mesh scrim inlay * Color - Emerald Green * SBR Black Rubber Granuels 12 kg/m2, Tape & Glue According to layout plan installation. * Installationof Truf, infill of silica sand & Granuels, Brushing & Line Marking. 3 years of warranty for any product & application Defect & its shall repairs at no cost by the contractor within a warranty period Including all Labour & all type of Taxes, without GST, Transpotation, Loading, unloading, etc. Complete as directed by Engineer incharge | 2370 | Sqm |  | 23.7.18 | 2018-07-09
88 | E Ward |  | Providing and fixing 8 layers Badminton court system as per following - *ACRYPATCH - 100% ACRYFLEX UNIC FLOOR (A one wood craft) based emulsion to repair cracks of concrete and asphalt pavement. *PRIMER - 100% ACRYFLEX UNIC FLOOR (Aone wood craft) based emulsion to improve bond of acrylic court system to the concrete or asphalt surfaces. *RESURFACER - Acryflex Resurfacer 367-30 for filling and smoothing asphalt or concrete surfaces in preperation for Acryflex ITF Approved badminton court system. And also fills the surface chips, voids and conceals repairs while providing a smooth surface for color coating. *CUSHION COAT -3 layers of Acryflexunic floor (A one wood craft) cushion for asphalt or concrete surfaces in preperation for Acryflex ITF approved system. *PRECOAT- 2 layers of ACRYFLEX UNIC FLOOR (A one wood craft) based texured tennis topcoat ideal for color coating tennis and basketball courts and other sport pavement surfaces. *OVERLINE - 100% ACRYFLEX NUIC FLOOR (A one wood craft) based high hiding line paints., etc. Complete. 5 years of warranty for any product & application Defect & its shall repairs at no cost by the contractor within a warranty period Including all Labour & all type of Taxes, without GST, Transpotation, Loading, unloading, etc. Complete as directed by Engineer incharge | 5875 | Sqm |  | 23.7.18 | 2018-07-09
89 | E Ward |  | Providing and fixing of Interlocking EVA-JSR (Japanese Synthetic Rubber) Mat for Kabaddi Court having Thickness 50 mm, Sizes in 1m X 1m, density is 130-140 kg/cu.m, Hardness shoulde be 30 - 35 Degree shore A, Both side usable with anti skid designed. The Kabaddi Mats should be approved with Kabaddi federation of India. Mats are as per drawings. 2 years of warranty for any product & application Defect & its shall repairs at no cost by the contractor within a warranty period Including all Labour & all type of Taxes, without GST, Transpotation, Loading, unloading, etc. Complete as directed by Engineer incharge | 1865 | Sqm |  | 23.7.18 | 2018-07-09
90 | E Ward |  | Providing and fixing 15 MM Thick System having base layer of 9mm SBR with 6mm EPDM Top Layer Insitu Rubber Flooring - Jogging Track. The Running tracks are high quality/impact absorbing rubber surfaces & best suitable for walking & Running surfaces. This system should be consists of two rubber layer which are made on site by mixing rubber granules with clear polyurethane binder. Base layer consists of SBR rubber (Black Color) and top wear layer consist of EPDM (colored rubber) provides a clean, seamless & absolutely low maintenance surface. SBR (Styrene-Butadiene Rubber) Granules in Size 1-4 MM , it comes in Black Color by Default, having excellent weather properties. Product Components brief - > PU (Poly Urethane) Binder, it’s a glue which gives bonding to Rubber Granules, normally comes in Transparent Color, USP of it includes low UV degradation, minimal color change of EDPM Granules > EPDM (Ethylene Propylene Diene Monomer) in Size 1-4mm, its a Synthetic Rubber which is water resistance, durable, UV stable, high & consistent. Product Installation Brief - Track Wetpour Insitu system gets applied in two layers, first layer of 9 MM Thickness using Black SBR Granules size 1-4mm with mix of polyurethane binder followed by 6 MM Thick layer of EPDM Granules which are in size of 1-4 mm with line marking using high quality acrylic paint. Total Thickness of product becomes 15mm. 2 years of warranty for any product & application Defect & its shall repairs at no cost by the contractor within a warranty period Including all Labour & all type of Taxes, Transpotation, Loading, unloading, etc. Complete as directed by Engineer incharge. | 3700 | Sqm |  | 23.7.18 | 2018-07-09
91 | E Ward |  | Providing and fixing of Polyurethane surfaces for Jogging track 13 mm thick. 1)PU prime for surface preparation and to enhance surface adhesion for subsequent layers (250 microns). 2)SBR-B3 PU Binder Cushion layer to have a Rubber base layer PU binder bonds to the loose SBR crumb and makes a cushioned and bouncy Rubber surface (8 mm thick). 3) Spraying EPDM Coating for long lasting lifespan and increase the strength of surface. 4) EPDM granules for Weather Resistance (5mm thick). 2 years of warranty for any product & application Defect & its shall repairs at no cost by the contractor within a warranty period Including all Labour & all type of Taxes, Transpotation, Loading, unloading, etc. Complete as directed by Engineer incharge | 5475 | Sqm |  | 23.7.18 | 2018-07-09
92 | E Ward |  | Providing & Fixing Rubble mat for children play area *100% Hygienic and Safer for Children *An unmatched range of creative design possibilities *Long Life with Minimal Wastage *Resistance to abrasion, slipping, indentation & ignition *Virtually Maintenance Free *Multi Colored Graphic and Design Options *No Hidden Hazards *No Joints for Vandals to crack *Ebaco EPDM flooring Surface depths varies in thickness. 25-30 mm thickness is the ‘Industry Standard’ incorporating a 2 layer system with a 19mm SBR base layer and 6mm EPDM wearing top. All depths can be accommodated. “If one keeps thickness of floor 25 MM, It means, if a child falls from height of approx 1 Meter it won’t hurt himself.” The graph below shows surfacing depths to suit fall heights Including all Labour & all type of Taxes, without GST, Transpotation, Loading, unloading, etc. Complete as directed by Engineer incharge | 2610 | Sqm |  | 23.7.18 | 2018-07-09
93 | E Ward |  | Providing and fixing Sauna Bath system as per following - *SWEDISH pinewood - 19 mm thick. *Size - 252CFT. *12 KWA Unit , Area in cu.feet - 350 to 380. * Heat proof insulation, Frabrication and Fittings, benches, MS outer Body Sauna Heater with Electronic, Machine with feather touch control panel. *Compact Digital temperature Cut-off system no noise no vibrate steam bath generator. *Sauna Accessories- Heater cover, Cover, Spoon, Hygro meter, Sand, Timer, Sauna Stone, Wood Vent. Etc. Complete. 2 years of warranty for any product & application Defect & its shall repairs at no cost by the contractor within a warranty period Including all Labour & all type of Taxes, Transpotation, Loading, unloading, etc. Complete as directed by Engineer incharge (Witjout GST) | 370000 | No |  | 23.7.18 | 2018-07-09
94 | E Ward |  | Providing and fixing Steam Bath system as per following - *Steam Unit - 12 KWA, Stainless steel. *Digital timer with temperature controller *Stainless steel boiler, duty insulated and housed in stainless steel cabinet with buff finish. *Long life, low watt density, copper immersion heater with faster and efficient heating system. *Electronically controlled automatic water feel with 'LOW' or "No' water cut-off system. *Double themostatic control with pressure safety arrengement. *Continuous steam generation, even during water feeding and temperature cut-off time. *Remote control panel with silver tipped contractors for millions of trouble free 'ON-OFF' operations. *1/2" dia. solinade valve for cut off steam in cylindrical operational unit. *Imported thermostat timer and indicating lamps., etc. Complete. 2 years of warranty for any product & application Defect & its shall repairs at no cost by the contractor within a warranty period Including all Labour & all type of Taxes, Transpotation, Loading, unloading, etc. Complete as directed by Engineer incharge (without GST) | 370000 | No |  | 23.7.18 | 2018-07-09
95 | E Ward |  | Supply and installation of Anutone or Equivalent Manufacturer Stretch Single Large Span (SLS) fabric of following specification with 10 years warranty, FR Grade Solserene fabric system, with high-performance integrated core, with a white matt face covering, acoustically-transparent textile of size 4mx75m. Wooden base of 10mm thick to be installed to the framework, so as to get desired profile as per arch dwg, on the marked lines with metal fasteners should be at 300mm centers embedded in plastic sleeves. Fix SE 38 half wrap, fullwrap and Midseam, rigid FR-PVC high strength extrusions square / bevel edge on the wooden surface by using heavy-duty diverging fasteners at 25mm centers on one/both sides of Stretch Tracks. Anutone or approved make Strand board of size should be 600x1200x20mm thk installed to framework ,in between grippers, by using fasteners. Anutone Synth or approved make PF 10x10mm thick is then to be adhered on strand board using Stick 7 or approved make adhesive. The SLS fabric of width 4m is to be stretched and tucked into the tracks and secure into the locking jaws with tucking tools to obtain smooth, wrinkles free finish. Ensure the cord in the fabric are orianted in one direction to achieve uniform shade., including all type of taxes, transportation, loading, unloading as directed by Engineer in charge. • Core Variants - Polyfibre & Pinewoodfibre (Excluding GST) • Fire – Class A • Acoustics – NRC up to 0.9(For 25mm thk E300* mounting for Strand) • Climate (Degree Celsius, RH) – 49, 90 • Termite resistance – Yes • Light reflectance – Colour dependant • Green (Voc, RC %) – Low, 25 • Hygiene (VoC, Clean room) – Low, Class 1. | 9328 | Sqm |  | 23.7.18 | 2018-07-09
96 | E Ward |  | Providing & Fixing wall hung waterless Urinal, made of Vitreous China material (VC). Urinal to have elongated rim, a full 2” cpvc pipe for interior drain and 2” flanged waste outlet; suitable for direct connection to a 2” cpvc waste pipe at the wall . Trap insert to be of a vertical flow type with 360 degree perimeter openings and installed by press fit. Trap must be replaceable and refillable. Trap inserts are to be removed with a two pronged heavy duty stainless steel tool. Urinal to be fastened at the bottom front using standard bolts from brass urinal flange. The bottom of the urinal is to be fully enclosed. The urinal to be fixed to wall with stainless steel screw of required sizes Complies with ADA, ANSI Z124.9, CSA®, ASME A112.19.19. Supplied vertical EcoTrap® insert required. Mount at 17” above finished floor to lip of urinal or as required by architect, Engineer In charge, ADAAG etc. Center drain line to be at 8.25” off finished floor. Supply suitable wall support, i.e. carrier. Install and maintain as per manufacturer’s instructions. Urinal 2” drain outlet installs and drains to 2” flanged waste. Retrofit or new construction. Color: Sanitary white. Approx. Weight: 24 Kg. Use standard sanitation practices to maintain fixture, including all type of taxes, transportation, loading, unloading as directed by Engineer in charge. Excluding GST | 9300 | No |  | 23.7.18 | 2018-07-09
97 | E Ward |  | Supplying & fixing in position L - SHAPE Toilet Cubicle with standard dimension of 2025mm Height x 1000mm Width x 1550mm Depth, which includes 600mm door size width). made of heat, bacteria, water, chemical, scratch and impact resistant 12mm thick solid compact laminate panels including doors, pilasters & intermediate panels finished with approved texture/shade as per the detail drawings & as per IS 2046 (Indian Standard) and as per fire retardant BS-476/97 standard. The product should have Green Guard Certificate. This also includes providing and fixing in position necessary hardware made out of Stainless steel (Grade 304) as per manufacturer’s specifications & Architects instructions like (1) Door Knob, (2) Gravity Hinges, (3) Thumb turn lockset with Occupancy indicators, (4) Coat hooks with Door stopper (5) U- Channels, (6) Adjustable foot/pedestal, (7) Top rail with Corner connector (8) Rubber noise deafening tape, (9) Screws & wall Plugs,The top fitting should consist of SS round top rail which will get fixed with pilasters, with SS panel tube holder, SS corner bend (connected with top rail) will be used on the corner of cubicle in absence of brick wall, SS wall fixing is used only on the wall which will hold the ss top rail. All screws will of 304 Grade in stainless steel with satin finish. All pilasters are supported by stainless steel Bottom Cladding. The base of the stainless steel bottom cladding will be anchored to the floor with a clearance height upto 150mm. including labours, transportation, all taxes etc. complete. Excluding GST | 35000 | No |  | 23.7.18 | 2018-07-09
98 | E Ward |  | Supplying & fixing in position I - SHAPE Toilet Cubicle (Front Partition) with standard dimension of 2025mm Height x 1000mm Width which includes 600mm door size width).made of heat, bacteria, water, chemical, scratch and impact resistant 12mm thick solid compact laminate panels including doors, pilasters & intermediate panels finished with approved texture/shade as per the detail drawings & as per IS 2046 (Indian Standard) and as per fire retardant BS-476/97 standard. The product should have Green Guard Certificate. This also includes providing and fixing in position necessary hardware made out of Stainless steel (Grade 304) as per manufacturer’s specifications & Architects instructions like (1) Door Knob, (2) Gravity Hinges, (3) Thumb turn lockset with Occupancy indicators, (4) Coat hooks with Door stopper (5) U- Channels, (6) Adjustable foot/pedestal, (7) Top rail with Corner connector (8) Rubber noise deafening tape, (9) Screws & wall Plugs,The top fitting should consist of SS round top rail which will get fixed with pilasters, with SS panel tube holder, SS corner bend (connected with top rail) will be used on the corner of cubicle in absence of brick wall, SS wall fixing is used only on the wall which will hold the ss top rail.All screws will of 304 Grade in stainless steel with satin finish. All pilasters are supported by stainless steel Bottom Cladding. The base of the stainless steel bottom cladding will be anchored to the floor with a clearance height upto 150mm. including labours,transportation,all taxes without GST, etc.complete. | 30250 | No |  | 23.7.18 | 2018-07-09
99 | E Ward |  | Providing and fixing in position Glass Reinforced Concrete (GRC) / Glass Reinforced Polyester (GRP) covering for RCC column of 0.75 m dia & 8.3 m ht. with flutes , bases, top & capital as per detailed design & drawing and at required position including all taxes, octroi, transport, loading, unloading, all scaffolding & necessary fixing arrangement, machinery, fixtures & fasteners etc.complete. as directed Engineer in charge (The GRC/GRP ingredients percentage should be confirmed by Engineer - in charges) etc. complete. as per details & directed by Engineer -in- charge. Mode of measurements :- surface area of column (calculated by considering average diameter of column & average height of column). | 56650 | No |  | 23.7.18 | 2018-07-09
100 | E Ward |  | Providing and fixing Top sheet of GALAXY 1015 Galvalume profiled sheets or of approved make should be of effective cover width of 1015 mm and nominal 28.5 mm deep ribs with subtle square fluting in the five pan at nominal 204 mm centre- o-centre. Hi-strength steel with min. The feed material should be of nominal 0.5 mm Total Coated Thickness (TCT) with min. 550 MPa yield strength steel, Galvalume -metallic hot dip coated with Aluminium-Zinc alloy (55% Aluminium, 45% Zinc) as per AS 1397, AZ150 (Min. 150 gms/sq.mt total on both sides). Insulation: Rock wool insulation slabs should be of total 50mm thickness & 48kg/M3 density. VCL: Aluminium Vapour Control barrier. Z girt: GI Z girt 1.6 mm thk should be placed on bottom sheet to accommodate insulation and to support top sheet. Bottom sheet: Same as top sheet. Supply & installation of Flashings should be of 0.5 mm thickness upto 600mm Girth made up of same material as of roof sheet should be used. , including all type of taxes, transportation, loading, unloading as directed by Engineer in charge. Excluding GST. | 2450 | Sqm |  | 23.7.18 | 2018-07-09
101 | D Ward |  | Providing, Designing, Making & Fixing or Installing in position approved Mural to be fixed on external wall made up of fibre glass including deco paint and PU coating of approved colour and shade and make cleaning the mural including all leads & lifts, including all necessary arrangements like machinery, scaffolding, tools, equipment, taxes, labour etc complete as per details directed by Engineer in Charge. Including all other Taxes Excluding GST. Height - Not More Than 4.5M Width - Not More Than 4.5 M Thickness - 2 to 3 mm Weight - 7.5 TO 8.00 KG PER Sq.Mt | 27000 | Sqm |  | 24.7.18 | 2018-07-09
102 | D Ward |  | Providing and fixing letter internal signages on ACP sheet of 3mm thk wine Red vingle sheet as background and white letters of required sizes, aproved shade, colour, font and fixing with good quality adhesives as shown in the drawing and directed by engineer incharge including all type of taxes, octri, transporation and necessary scafolding etc complete. Inclusive of all types of taxes and Excluding GST. | 9 | Inch |  | 24.7.18 | 2018-07-09
103 | D Ward |  | Providing & placing of round white black pebbles of sizes varying 75mm to 150mm of river bed to the inside bottom portion of water channel as per directions of engineer in charge including all taxes transportation etc compete. and Excluding GST. | 1123 | Sqm |  | 24.7.2018 | 2018-07-01
104 | D Ward |  | Providing and fixing Tensile Fabric Roof System as per Following Roofing 650 GSM Sioen Tensile fabric, white colour, Translucent, Low working 10 years depreciating warranty. *Steel Structure - MS Framed structure made in pipes CHS (Circular Hollow section) RHS (Rectangular Hallow section) SHS Square Hollow section. as per site condition requirement and design / drawing, painted with epoxy primer and final coat of polyurethane paint. The welding rod used is grade ISI6013 of Advani, ESAB, Royal bond or equivalent make. *Accessories - Fish plate End Plates with all necessary Fasteners and Tensions , including wire rope etc. designed specially to arrest and tension the fabric etc complete 10 years of warranty for any product & application defect & its repairs and rectification if any is contractors responsibility, No extra cost to client within a warranty period, including all labour & Transportation Loading unloading etc Complete as directed by the Engineer In charge. Including all other Taxes Excluding GST. | 5595.2 | Sqm |  | 24.7.2018 | 2018-07-01

## Comparison
PIMPRI CHINCHWAD MUNICIPAL CORPORATION, PIMPRI-411018
COMPARISION OF APPROVED NEW RA ( WITHOUT GST) & OLD RA ( OLD TAXES)
Sr No. | ITEM DESCRIPTION | Unit Per | New RATE ( Without GST) |  | Old RATE ( Old Taxes) |  | Difference
1 | Providing and fixing Glazed vitrified tiles with high glossy mirror finish, of Johnson, Marbonite, Double charge, stain free item code HRJ 2542- Baltoro tile. Or equivalent having size 600mm X 600mm and 8-10 mm thickness and confirming to ISO 13006/EN 14411 Group Bia Chemical resitance tile with chemically tested as Per I. S. standard 105445-13 and ISO 10543-14 of approved make, shade and Pattern including transportation loading, Unloding on site in pcmc limit for Dado or Cladding in requried position and pattern with necessary groove in cm 1;4 and fixing tiles curring filling the joints with Cement including Scaffolding and curing and cleaning etc. complete. as directed by enginnering incharge and spcified (Rate is without GST, Inclusive of all other Taxes) | Sqm | 898 | 6.6.2018 | Rate | Date of Approval
2 | Providing and fixing Glazed vitrified tiles with high glossy mirror finish, of Johnson, Marbonite, Double charge, stain free item code HRJ 2542- Baltoro tile. Or equivalent having size 600mm X 600mm and 8-10 mm thickness and confirming to ISO 13006/EN 14411 Group Bia Chemical resitance tile with chemically tested as Per I. S. standard 105445-13 and ISO 10543-14 of approved make, shade and Pattern including transportation loading, Unloding on site in pcmc limit for Flooring in requried position and pattern with necessary groove in cm 1;4 and fixing tiles curring filling the joints with Cement including Scaffolding and curing and cleaning etc. complete. as directed by enginnering incharge and spcified (Rate is without GST, Inclusive of all other Taxes) | Sqm | 882 | 6.6.2018 | 0 |  | 882
3 | Providing & fixing composite Resin Manhole Cover & frame of size 600 X 450mm of load bearing capacity (C-250) 25MT (Inspection Shall be as per guidelines of EN 124:2004) Required replacement warranty for 24 months, including Loading, Unloading Transportation, all other Taxes excluding GST, etc. complete. As directed by Engineer-in-charge | No | 5000 | 25.5.2018 | 0 |  | 5000
4 | Providing & fixing composite Resin Manhole Cover & frame of size 900 X 450mm of load bearing capacity (C-250) 25MT (Inspection Shall be as per guidelines of EN 124:2004) Required replacement warranty for 24 months, including Loading, Unloading Transportation, all other Taxes excluding GST, etc. complete. As directed by Engineer-in-charge | No | 7000 | 25.5.2018 | 0 |  | 7000
5 | Providing & fixing composite Resin Manhole Cover & frame of size 600 X 450mm of load bearing capacity (C-250) 25MT (Inspection Shall be as per guidelines of EN 124:2004) Required replacement warranty for 24 months, including Loading, Unloading Transportation, all other Taxes excluding GST, etc. complete. As directed by Engineer-in-charge | No | 7400 | 25.5.2018 | 0 |  | 7400
6 | Supplying & fixing composite Resin Manhole Cover & frame of size 600 X 600mm of load bearing capacity (C-250) 25MT (Inspection Shall be as per guidelines of EN 124:2004) Required replacement warranty for 24 months, including Loading, Unloading Transportation, all other Taxes excluding GST, etc. complete. As directed by Engineer-in-charge | No | 9000 | 25.5.2018 | 0 |  | 9000
7 | Supplying & fixing composite Resin Manhole Cover & frame of size 900 X 900mm of load bearing capacity (C-250) 25MT (Inspection Shall be as per guidelines of EN 124:2004) Required replacement warranty for 24 months, including Loading, Unloading Transportation, all other Taxes excluding GST, etc. complete. As directed by Engineer-in-charge | No | 12000 | 25.5.2018 | 0 |  | 12000
8 | Providing & fixing composite Resin Manhole Strom water drain gully gratings cover & frame of size 600 X 600 mm load bearing capacity (C-250) 25MT (Inspection shall be as per guidelines of EN 124:2004), With replacement warranty of 24 months, including Loading, Unloading Transportaion, all other Taxes excluding GST, etc. Complete as directed by Engineer-in-charge | No | 8400 | 25.5.2018 | 0 |  | 8400
9 | Providing & fixing composite Resin Manhole Strom water drain gully gratings cover & frame of size 900 X 600 mm load bearing capacity (C-250) 25MT (Inspection shall be as per guidelines of EN 124:2004), With replacement warranty of 24 months, including Loading, Unloading Transportaion, all other Taxes excluding GST, etc. Complete as directed by Engineer-in-charge | No | 10000 | 25.5.2018 | 0 |  | 10000
10 | Providing & fixing composite Resin Manhole Strom water drain gully gratings cover & frame of size 900 X 900 mm load bearing capacity (C-250) 25MT (Inspection shall be as per guidelines of EN 124:2004), With replacement warranty of 24 months, including Loading, Unloading Transportaion, all other Taxes excluding GST, etc. Complete as directed by Engineer-in-charge | No | 13500 | 25.5.2018 | 0 |  | 13500
11 | Removing & refxing RCC Precast Kerb stone of all size embeded in CC 1:2:4 with required all necessery excavation & transporting the excavated matarial pointing the exposed faces with CM 1:2 curing etc. complete. As directed by Engineer in charge. | Rmt | 63.53 | 16.5.18 | 0 |  | 63.53
12 | Removing & refixing interlocking concrete paver blocks of all thickness of plain finish/colour or any size & shape, Fixing on 50mm stone grit bedding laid in proper position. Levelling, filling joints with stone dust, compactinng by compactor as per IRC 063, cleaning including loading, unloading, transporting etc. as directed by Engineer in charge. | Sqm | 197.78 | 16.5.18 | 377.4 | 2007-08 | -179.62
13 | Excavation in Bituminous/Concrete surface with mechanical cutter & breaker upto required width & depth for fixing pre-cast R.C.C. parablic shape divider/ kerb only including removing & transportation of excavated material anywhere with required labours operator fuel operation & maintenance all taxes and as per drawing, design & specifications etc complete as directed by Engineer in charge | Rmt | 128 | 25.5.2018 | 145.62 |  | -17.62
14 | Providing & Fixing RF Switch & Transmitter including RFID Tag on the Bus (inclusive of three year warranity period) (one unit per bus) including all Taxes, transportation, loding, unloading etc. complete as directed by engineer incharge and including all other taxes & excluding GST. | No | 8000 | 31.5.18 | 167 | 2016-17 | 7833
15 | Signages Graphics, providing & applying Graphics for sinages retro reflective vinyal as per IRC 67:2017 With text & graphics in ploter cut nikkalite grade standard vinyl, pasting on ACP sheet as per required design & drawing as directed by engineer in charge all Taxes, transportation, loading unloading etc. complete as directed by engineer incharge and including all other taxes & excluding GST. | Sqm | 2650 | 31.5.18 |  |  | 2650
16 | Providing & fixing Docking roller of 100mm long fixed in 20mm dia.M.S. bar of 135mm long fixing 11 nos. of roller in 125 X 65 X 5 mm th M.S. C- Channel and fixing the Whole assembly at docking portion including, welding grinding, transportation, loding, unloading etc. complete as directed by engineer incharge and including all other taxes & excluding GST. | No | 10350 | 31.5.18 | 0 |  | 10350
17 | Providing & fixing Corrugated galvanised iron 1 mm thick. deckpannel 960mm effective cover width profile with nominal 51 deep ribs with nominal pitch of 316 mm c/c embossment on top of flange provide the mechanical connection between the steel and concrete minimum yield strength of 550 MPA etc. complete as directed by engineer incharge and including all other taxes & excluding GST. | Sqm | 1496 | 31.5.18 | 0 |  | 1496
18 | Automatic Doors with RFID tags Supply and errection at all levels and in all positions automatic sliding door in 10 mm thick multi wall Polycorboanate sheet of Lexan or equivalent make in Aluminum frame of 1 inch series by using extruded high grade alloy sections of make jindhal or equivalent and with top and side fixed wall partion in 10mm thick multiwall polycorbonate sheet of flexun or equivalent make. The price is inclusive imported, make door operators with idle pully tooth belt, drive wheel assembly, bumper for soft start and stop, master controller, brushless motor, in built power supply embeded in aluminum profile rail including standard hardware and accessories and with RFID kit to be integrated with the bus stops to ensure of safe and smooth opening of bus doors and the bus station doors including all taxes, excluding GST transportation as directed by Engineer-in-charge. Size of door 2.6m X 2.6m | No | 250000 | 31.5.18 | 0 |  | 250000
19 | Providing & fixing 4mm aluminum composite panel of approved colour of finish Fixed over frame made from 38 X19 X2 mm aluminum channel fixed with cleats & fasteners including sealing the joints with baker rod & silicon sealent including transportation, loading, unloding etc. complete as directed by engineer incharge and including all other taxes & excluding GST | Sqm | 3550 | 28.5.18 | 0 |  | 3550
20 | Providing and fixing of various diameter stainless steel (grade 304) pipe for bus stop as per drawing & specification , including pipe cutting & bending fixing with plates & anchor fastener erection necessary, welding, grinding, finishing buffing, to stainless steel pipe including transportation, loading unloading etc. complete as directed by engineer in charge and including all other taxes & excluding GST | Sqm | 423 | 28.5.18 | 3588 |  | -3165
21 | Providing and fixing stainless steel plates (grade 304) for Chairs made of plates etc. including welding, grinding, buffing, Polishing and making curvature and fitting same with necessary stainless steel nuts, bolts transportation, loading unloading etc. complete as directed by engineer in charge and including all other taxes & excluding GST | Kg | 660 | 28.5.18 | 534.6 |  | 125.4
22 | Providing and fixing ticketing kiosk of size 1.5m X 0.9m X 2.4m with ticket window opening of 0.3m X 0.9m at height of 0.8 m from the FFL and a door of size 0.9m X 2.3m fixed with 4 nos 75 X4mm hinges, including providing and fixing 4mm aluminum composite panel fixed over frame made from 38 X 19 X 2 mm aluminum channel fixed with cleats and fastening i e Seling the joints with baker rod and silcon sealant, including all fixtures finishes, transportation, loading unloading labour charges with galvanized iron screws, self tapping screws, nuts, bolt and head washers with connecting plates, braces, on square Hollow Section MS Galvanised frame work of 50 X 50 X 3 mm. and two coats of oil paints etc. complete specification as directed by engineer incharge including all other taxes & excluding GST. | No | 48900 | 28.5.18 |  |  | 48900
23 | Providing and fixing 4 mm aluminium composite panel fixed over frame made from 38 x 19 x 2mm aluminium channel fixed with clears and fastners including sealing the joints with Baker rod and silicon sealent. (Aluminium composite panel of Alstone / Aludecor make). Including all taxes and excluding GST. Specification as directed by Engineer in charge or Architect etc complete. | Sqm | 2750 | 29.5.18 | 0 |  | 2750
24 | Designing, providing fabrication, supplying & fixing in position structural glazing to external face of the building straight in plan consisting of main panel work of vertical & horizontal made out of specially designed extruded 38 x 83mm powder coated alluminium section, anchor to RCC element through adequately designed powder coated MS clamps, bracket using 5mm thick one way reflective make Saint Gobain Glass (Blue/Bronze/Green Reflective Glass) & weather silicon sealant of approved grade (Direct Sticking) Material used Mullion Section: 63 x 83mm Transform Section: 63mm x 38mm Spacer tape, Silicon sealant SSG 4000 ULTRA GLAZED /995 Dow Coring, Silprooof / 789, Glass equivalent 5.00mm thick one way reflective in Blue Colour (Saint Gobain) The joints shall be properly sealed with approved silicon sealant to make the joints watertight and weather proof including fixing over alluminium frame using mechanical fastenrs such as alluminium cleats and fasteners, specially designed frame work with vertical and horizontal members of extruded alluminium section which shall be made of alloy 6063 T6, as approved by the Engineer in charge (as per drawing enclosed) The work shall be complete as per specification and direction of Engineer in charge including all other taxes excluding GST .etc complete | Sqm | 4820 | 29.5.18 | 3588 |  | 1232
25 | Providing & fixing foam based Information board on 2.5mm foam sheet for name plate/board showing information within building premises Letter of size / font engraved in the flim of Green / Blue or any approved colour. Provided with two way tape on back side for fixing. Including all other taxes and excluding GST.etc complete as directed by Engineer in charge. | Sq. Inch | 2.8 | 29.5.18 | 6500 | 2013-10-01 | -6497.2
26 | Providing & fixing click Action furniture lock Europa or equivalent make. Provided wirh 11 pin computerized locking system, Heavy Brass / S.S. dead Bolt of size 25 x 8mm set of two keys whole Body having Anticorrosive treatment. Including all other taxes and excluding GST.etc complete Specification as directed by Engineer in charge | No | 515 | 29.5.18 |  |  | 515
27 | Supplying and transporting, Packing & spreading of good quality jogging track soil including the cost of Spreading the soil ocer roughly dressed area in uniform layer, loading, unloding etc. Complete including all taxes without GST As directed by Engineer incharge | Cum | 1955 | 28.5.18 |  |  | 1955
28 | Supplying and transporting & spreading of good quality golden sand including the cost of spreading the sand, loading, unloading etc. complete. Including all taxes without GST As directed by engineer incharge. | Cum | 5835 | 31.5.18 |  |  | 5835
29 | Providing & Fixing of Composite self sloping channel made from orthopthalic resin glass fiber with micro grot embedded on the outer side of drain channel system in M20 grade concrete. Composite channel with inbuilt slope of minimum size of 150mm wide and minimum depth of 50 mm onwards with U shape having wall thickness of 4mm and maximum water carrying capacity volume of 835 LPM, including polyurethane sealant for grouting and joint sealing. Slope of channel is 1:200(5mm drop per meter length of channel) should be covered with Composite designer grating with glass fiber reinforced polyester having minimum size 144 mm x 498mm x 20mm with SMC manufacturing process. Load carrying capacity of designer grating is human and small car load including clearing of surface transportation as directed by Engineer in charge Rate is inclusive of all taxes, excluding GST. | Rmt | 3520 | 2018-06-02 |  |  | 3520
30 | Providing and applying Indoor/Outdoor all colored Synthetic, all weather surface applied in 5 layers (total thickness 2.50 to 3mm ) as per detail specifications given below over oil, dust & debris free prepared asphalt surface for skating rink including Removing undulations by sutaible soil sterling liqvid and patch binder,1 coats of prime coat & 2 coat of resurfacer & 2 coat of color plus & game line marking turf USA system product approved by international skating federation, including all transportation, leads and lifts up to site within PCMC limits, removing all surplus material and debris and cleaning the same after completion of work. Rate is inclusive of all taxes, testing of material but excluding GST etc. Complete as directed by Engineer-in-Charge | Sqft | 72 | 2018-06-02 |  |  | 72
31 | Providing and fixing corrugated FRP sheets 2mm thick embedded with palm tree design cloth for roofing without wind tie including fastening with galvanized iron screw & bolts & lead washers Spec: As directed by Engineer In Charge including all other taxes & Excluding GST. | Sqm | 918.64 | 22.5.18 |  |  | 918.64
32 | Providing and fixing FRP Ridges sheets 2mm thick embedded with palm tree design cloth for over hip or vally roofing including all fastening with galvanized iron screw & bolts & lead washers etc. complete as directed by Engineer In Charge including all other taxes & Excluding GST. | Sqm | 616.95 | 22.5.18 |  |  | 616.95
33 | Providing and fixing seating bench fabricated from M.S. Rectangular tubes of size 50 m x 25 mm x1 mm& fixed on M.S. square tube of 40 mm x 40mm x 1.25 mm which are fixed in CC 1:2:4 and overall size of bench 1500 mm x 500 mm x 900 mm and having approximatelyweight28 kg. with including painting with 1 layer of primer and 2 layer of oil paint as directed by engineer in charge including all other taxes & excluding GST | No | 4150 | 22.5.18 |  |  | 4150
34 | 12 mm Clear toughened glass spider glazing:- Providing and fixing 12mm clear toughened glass in Point fixed glazing system using 20r 4 way spider fittings as called for in design of Ozone/Enox make Fittings will be in SS 316 grade with SS fastners towards wall side and Fixed Raised Head Bolts holding the glass with the Spider fittings. Vertical/Periferal joints sealed with Dow corning clear Sealants 789 Entire system will be structurally stable with leak proof joints. Additional specification as directed by engineer-in-charge, including transportation, Loading unloading etc am plete including all othar taxes & excluding GST. | Sqm | 9312 | 2018-06-11 |  |  | 9312
35 | Providing and fixing MS sliding gate of various size with sliding arrangment as per with 40 X80X14 gauge oiter frame and 40 X40X14 gauge vertical members as per drawing. Einishing Painting etc complete. Additional Specification as directed by engineer -in-charge, including transportation, Loading unloading etc am plete including all othar taxes & excluding GST. | No | 33972 | 2018-06-11 | 6500 |  | 27472
36 | Providing and fixing Garware Nylon jalli for building safety made up of 6mm diameter nylon rope and grid of 100mm. Perimater is made up of 12mm diameter nylon rope and fixed at a required level using fastener hooks 60cm centre to centre as directed by engineer in charge including all other taxes excluding GST Tetc complete. | Sqm | 1050 | 11.6.18 |  |  | 1050
37 | Providing and erecting of FRP cubical unit of twin urinal of size 2.4x1.340x2.5m with required 2 doors 0.67x1.91m in size having 3 mm thickness FRP sheet in both side with wooden reinforcement, Overall thickness of door is 35 to 40mm; door having 3 Stainless Steel hinges, 2 handles & inside Mild Steel latch. FRP cubical unit having 2 side panel of 1.2x2m, the panel is 35 to 40 mm thick along with both side 3 mm FRP sheet & inside wooden reinforcement; these panel having 2 FRP windows on each of size 0.4x0.3m, thickness of FRP sheet for windows is 10mm having drilled hole of 25mm diameter. The partition panel have similar dimension that of side panel present at the center. Toilet having overhead FRP tank of thickness 5mm and overall dimension 1.97x1.31x0.335m (height) with 250 liter capacity. Providing overhead water tank having 2 manholes on top of size 0.35x0.35m. All these panel assembly is to be done with riveting & nut bolting. The unit also include of FRP wash basin with proper plumbing accessories of IS standard material and as per drawing including all taxes and excluding GST, including transportation upto site and fixing at site, etc. complete as directed by Engineer in Charge.For Gents :- Providing falcon Water free two urinal pots as per relevant IS standard with cartridge Model- FLAX2255, Water free urine cartridge compatible with all models of free urinals having life cycle average of 25000 uses and of size 4.625 x 3.875 inches (18x10cm) of recyclable ABS material having liquid trap seal meets or exceeds IPC, UPC and NSPC model codes. Mechanical free design having Dual barrier system consist of biodegradable sealant liquid within the cartridge, an O-Ring seal and patented bayonet locking mechanism providing and air-tight installation of the cartridge into the urinal and odor free operation. Pre-measure pack of biodegradable sealant liquid is provided with the cartridge etc. including installation charges and taxes etc complete. | [5 empty] | 0
| FRP Urinal Cubicle For Gents |  | 102500 | 25.6.18
| FRP Urinal Cubicle For Ladies |  | 86100 | 25.6.18 |  |  | 86100
38 | Providing Water free urine cartridge compatible with all models of free urinals having life cycle average of 25000 uses and of size 4.625x3.875 inches (18x10cm) of recyclable ABS material having liquid trap seal meets or exceeds IPC, UPC and NSPC model codes. Mechanical free design having dual barrier system consist of biodegradable sealant liquid within the cartridge, an O-ring seal and patented bayonet locking mechanism providing and airtight installation of cartridge into the urinal and odor free operation. Pre-measure pack of biodegradable sealant liquid is provided with the cartridge etc.,including all taxes and excluding GST. | No | 2952 | 25.6.18 |  |  | 2952
39 | Providing & laying RCC half round pipe I.S. NP-2 Class of 150mm diameter on proper line, level & slope including Pointing in C.M. 1:2 and curing complete etc. dircted by the Engineer inchargre complete. | Rmt | 120.33 | 29.6.18 |  |  | 120.33
40 | Providing & laying RCC half round pipe I.S. NP-2 Class of 250mm diameter on proper line, level & slope including Pointing in C.M. 1:2 and curing complete etc. dircted by the Engineer inchargre complete. | Rmt | 181.74 | 29.6.18 |  |  | 181.74
41 | Providing & laying RCC half round pipe I.S. NP-2 Class of 300mm diameter on proper line, level & slope including Pointing in C.M. 1:2 and curing complete etc. dircted by the Engineer inchargre complete. | Rmt | 293.4 | 29.6.18 |  |  | 293.4
42 | Providing & laying RCC half round pipe I.S. NP-2 Class of 450mm diameter on proper line, level & slope including Pointing in C.M. 1:2 and curing complete etc. dircted by the Engineer inchargre complete. | Rmt | 628.36 | 29.6.18 |  |  | 628.36
43 | Providing & Supplying of FRP tolite Cubicals of requited below size with wall panels 40mm thick having wooden rainforcement & 3mm thick plain FRP sheet on both side with smooth finish and the roof projection of 750mm wide on doors which is include structure from M.S. angle 25mm X 25mm & 3mm & Square tube of size 20mm X 20mm X 1.25mm (thick) for purlins as per detailed design and drawing. The door of size 1980mm X 780mm X 35mm (thick) incased in wall with 3 S. S. hinges and 2 Sl standard tadipatti aldrop which fit in panels with F.R.P. shelter of 5mm thick and FRP window having 5mm thick sheet with 15 dia. drilled holes as shown in drawing & overall size 460mm X 640mm. The overhead water tank for two unit having 1850mm X 1115mm size & of height 250mm similarly for unit size changes to 1850mm X 2190mm with height remains same as that of two unit i.e. 250mm similarly for unit size changes to 1850mm X 2190mm with height remains same as that of two unit i.e. 250mm as per detailed specification and drawing the cubical have with premounlded 3mm thick frp toilet pot on the floor including detachable premoulded 3mm thk frap necessary Plumbing & sanitary fittings, electrical switch bpard (300mm X 300mm) including, loading, unloading transportation, installation at site including all other taxes excluding GST as directed by enfineer in chatges as per detailed specification draeing & design. | [5 empty] | 0
| FRP Two Unit Toilet With FRP Pan | No | 53300 | 29.6.18 |  |  | 53300
| FRP Four Unit Toilet With FRP Pan | No | 114800 | 29.6.18 |  |  | 114800
44 | Providing & Supplying of FRP Urinal Cubical of required below size with wall panels 40mm thick having wooden rainforcement & 3mm thick plain F.R.P. sheet on both side with smooth finish and the roof projection of 750mm wide on doors which is include structure from M.S. angle25mm X 25mm X 3mm & Square tube of size 20mm X 20mm X 1.25mm (thick) for purlins as per detailed design and drawing. The door of size 1980mm X 780mm X 35mm (thick) incased in wall with 3 s.s. hunges and 2 sl standard tadipattin aldrop which fit in panelswith F.R.P. shelter of 5mm thick and FRP window having 5mm thick sheet with 15dia. drilled holes as shown in drawings & overall size 460mm X 640mm. The overhead water tank for two unit having 1850mm 1115mm size & of height 250mm similarly for unit size changes to 1850mm X 2190mm with height remains same as that of two unit i.e. 250mm as per detailed specification and drawing the cubical have with premoulded 3 mm thick frp Urinal pot on the wall including detachable premoulded 3mm thk frp trap necessary plumbing & sanitary fittings, electrical swith board (300mm X 300mm) including, loading unloading, transportation, installation at site including all other taxes excluding GST as directed by engineer incharge as per detailed specification, drawing & design | [5 empty] | 0
| FRP Two Unit Urinal Block | No | 50020 | 29.6.18 |  |  | 50020
| FRP Two Unit Urinal Block | No | 114800 | 29.6.18 |  |  | 114800
45 | Providing and Fixing Precast tapering R.C.C. M-40 grade Kerb Type-I (as per deatiled drawing attatched), in R-40 IRC specification (250X150X350) ( Round Kerb-300mm Outer Radius ) embeded 200 mm below Ground neately with fixing in Position Cement Mortor 1:2 etc complete, including redoing the surface as specified and directed by Engineer-In-Charge.including transportation, Loading, unloading and including all other taxes and excluding GST. | No | 208.02 | 3.7.18 |  |  | 208.02
46 | Providing and Fixing Precast tapering R.C.C. M-40 grade Kerb Type-II (as per deatiled drawing attatched), in R-40 IRC specification (250X150X350) (Round Kerb-500mm Outer Radius) embeded 200 mm below Ground neately with fixing in Position Cement Mortor 1:2 etc complete, including redoing the surface as specified and directed by Engineer-In-Charge.including transportation, Loading, unloading and including all other taxes and excluding GST. | No | 248.22 | 3.7.18 |  |  | 248.22
47 | Providing and Fixing Precast tapering R.C.C. M-40 grade Kerbs Type-III (as per deatiled drawing attatched), in R-40 IRC specification (250X150X350) (Round Kerb-901mm Outer Radius) embeded 200 mm below Ground neately with fixing in Position Cement Mortor 1:2 etc complete, including redoing the surface as specified and directed by Engineer-In-Charge.including transportation, Loading, unloading and including all other taxes and excluding GST. | No | 718.4 | 3.7.18 |  |  | 718.4
48 | Providing and Fixing Precast tapering R.C.C. M-40 grade Kerbs Type-IV (as per deatiled drawing attatched), in R-40 IRC specification (250X150X350) (Round Kerb-500mm Outer Radius) embeded 200 mm below Ground neately with fixing in Position Cement Mortor 1:2 etc complete, including redoing the surface as specified and directed by Engineer-In-Charge.including transportation, Loading, unloading and including all other taxes and excluding GST. | No | 393.58 | 3.7.18 |  |  | 393.58
49 | Providing and Fixing Precast tapering R.C.C. M-40 grade Kerbs Type-V (as per deatiled drawing attatched), in R-40 IRC specification (250X150X350) (Round Kerb-300mm Outer Radius) embeded 200 mm below Ground neately with fixing in Position Cement Mortor 1:2 etc complete, including redoing the surface as specified and directed by Engineer-In-Charge.including transportation, Loading, unloading and including all other taxes and excluding GST | No | 302.28 | 3.7.18 |  |  | 302.28
50 | Providing and Fixing Precast tapering R.C.C. M-40 grade Kerb Type-VI-A Without weepholes (as per deatiled drawing attatched), in R-40 IRC specification (1000 x 250-150X350) embeded 200 mm below Ground neately with fixing in Position Cement Mortor 1:2 etc complete, including redoing the surface as specified and directed by Engineer-In-Charge.including transportation, Loading, unloading and including all other taxes and excluding GST. | Rmt | 561.09 | 3.7.18 |  |  | 561.09
51 | Providing and Fixing Precast tapering R.C.C. M-40 grade Kerb Type-VI-B With Weepholes of Pvc pipe 50mm dia (as per deatiled drawing attatched), in R-40 IRC specification (1000 x 250-150X350) embeded 200 mm below Ground neately with fixing in Position Cement Mortor 1:2 etc complete, including redoing the surface as specified and directed by Engineer-In-Charge.including transportation, Loading, unloading and including all other taxes and excluding GST. | Rmt | 598.21 | 3.7.18 |  |  | 598.21
52 | Providing and Fixing Precast tapering R.C.C. M-40 grade Kerbs Type-VII (as per deatiled drawing attatched), in R-40 IRC specification (250x75X300 ) ( Straight Kerb-250mm length ) embeded 150 mm below Ground neately with fixing in Position Cement Mortor 1:2 etc complete, including redoing the surface as specified and directed by Engineer-In-Charge.including transportation, Loading, unloading and including all other taxes and excluding GST. | No | 132.96 | 3.7.18 |  |  | 132.96
53 | Providing and Fixing Precast tapering R.C.C. M-40 grade Kerbs Type-VIIl (as per deatiled drawing attatched), in R-40 IRC specification (75X300 ) ( Round Kerb-150mm Outer Radius ) embeded 150 mm below Ground neately with fixing in Position Cement Mortor 1:2 etc complete, including redoing the surface as specified and directed by Engineer-In-Charge.including transportation, Loading, unloading and including all other taxes and excluding GST. | No | 119.69 | 3.7.18 |  |  | 119.69
54 | Supply & Fixing precast cement concrete cylindrical Bollard of size (as per detaild drawing attatched) & 950mm height (650mm above finish level of 150mm Diameter manufactured by M-30 grade of concrete (with VSI quality standard Artificial Sand) by vibro compaction process using FRP moulds & painting with approved weather sheild paint of approved colour & texture, single & Double groove cut inside of 10mm width and 75mm wide placed at 150 mm from top finish (Reflective fluorescent tape should be sticked at 75mm grooved placed) as per detal drawing as directed by engineer in charge. including transportation ,Loading, unloading and including all other taxes and excluding GST. | No | 1006 | 3.7.18 |  |  | 1006
55 | Providing and fixing in position precast R.C.C. median/central verge IN m 25 Grade without SCADA of parabolic shape of total height 650mm (450mm above RTL) and breadth 250mm at bottom and 85mm @ top and length of 0.45m precast with wntire surface in M-25 including reunforcement of TOR @ 225 c/c (vertical ring) 9 bars of 8.00mm dia longitudinai with 50mm dia weep hole at 1000 mm c/c including curing, transportation, fixing in position etc. compelete in C.M 1:3 25mm thick joint as per the approved drawing designand specification and reinstating the surgace as directed by engineer in charge. | Rmt | 1051 | 16.5.18 |  |  | 1051
56 | Providing and fixing in position precast steel fibre reinforced concrete (SFRC) Perforated Frame cover of M 25 grade without SCADA as per approved drawing, design & specifications including loading unloading, transportation, all taxes etc. complete as directed by engineer incharge (40 tonnes capacity) size 1400 X 1100mm | No | 13477 | 6.7.18 |  |  | 13477
57 | Providing and fixing in position precast steel fibre reinforced concrete (SFRC) Perforated Frame cover of M-25 grade without SCADA as per approved drawing, design & specifications including loading unloading, transportation, all taxes etc. complete as directed by engineer incharge (40 tonnes capacity) size 1400 X 1400mm | No | 14800 | 6.7.18 |  |  | 14800
58 | Item:-Nevasa stone Flooring Providing and fixing at work site Soft compacted basalt (Nevasa) stone of size 300x300x50mm for Cladding as directed by Engineer in charge. Including C.m bed for 20mm thk in cm 1:4 with filling joints, curring, cleaning loading, unloading, transportation and including all other taxesand excluding GST complete as directed by engineer incharge etc. Quantity considered:- 1.08 sq.m. (calculation of 1.08sq.m. :- 0.3+0.3+0.3+0.1+(4x0.01)=1.04 ,therefore (1.04x1.04)=1.0816 i,e. 1.08 sq.m. where ,0.3+0.3+0.3+0.1:- for stone , (4x0.01):- for joint ) | Sqm | 5680 | 2018-06-20 |  |  | 5680
59 | Item:-Nevasa stone Flooring Providing and fixing at work site Soft compacted basalt (Nevasa) stone of size 300x300x50mm for flooring with dressing as directed by Engineer in charge. Including C.m bed for 20mm thk in cm 1:6 with filling joints, curring, cleaning loading, unloading, transportation and including all other taxesand excluding GST complete as directed by engineer incharge etc. Quantity considered:- 1.08 sq.m. (calculation of 1.08sq.m. :- 0.3+0.3+0.3+0.1+(4x0.01)=1.04 ,therefore (1.04x1.04)=1.0816 i,e. 1.08 sq.m. where ,0.3+0.3+0.3+0.1:- for stone , (4x0.01):- for joint ) | Sqm | 5524 | 2018-06-20 |  |  | 5524
60 | Item:-Provinding and fixing at work site Ruby Red Granite for 20mm cladding in required position on cement mortar 1:1 including scaffolding cement float, filling joints with cement slurry curing, Rubbing, Polishing, polishing, cleaning, loading, unloading, transportationand including all other taxes excluding GST complete as directed by engineer incharge etc. Quantity Considered:- 1.00 Sqm. | Sqm | 3236 | 2018-06-20 |  |  | 3236
61 | Provinding and fixing At work site Yellow Jaiselmer stone for cladding 20 mm thck in required position Cement mortar 1:4 scaffolding filling joints with neat cements slurry, polishing & cleanning. loading, unloading, transportationand including all other taxes ,excluding GST, etc. complete as directed by engineer incharge. Quantity Considered:- 1.00 Sqm. | Sqm | 2151 | 2018-06-20 |  |  | 2151
62 | Fundermax cladding Providing, Supplying and fixing at work site 6mm thick Fundermax make max exterior 'F' quality 1.30 x 2.80m board with proper Aluminium box framing of size 35 x 35x 2mm supported with necessary brackets of required size including all labour, wastage, transport, all other taxes and excluding GST, leads, lifts, scaffolding, fixture, fittings,loading, unloading and necessary arrangement etc. complete as directed by engineer incharge of the work. | Sqm | 7550 | 2018-06-20 |  |  | 7550
63 | Item:-Providing & fixing at work site red (Lal killa) granite for treads & risers of steps & staircases with nosing for the treads molded as per drawing or as dircted on a bed of 1:4 cement mortar including filling joints with colour pegment to match the colour of red granite including curing polishing & cleaning , transportation, loading, unloading, and all other taxes excluding GST, etc Complete as directed by engineer incharge. | Sqm | 2860 | 2018-06-20 |  |  | 2860
64 | Providing and laying at work site ferro-crete stone effect cement plaster of 60mm average thickness to exsting base/external surface as per approved desing in cm 1:2 with 4.50kg of flyash and 1ltr of waterproof compound per bag of cement including red & yellow oxide 200 grams per bag cement with chiken mesh one coat of accrylic emulsion waterproof paint,necessary ,labour, curing,preparing the surface and cleaning the worksite as per the detailed drawing and including all other taxes and excluding GST,etc. Complete as directed by the engineer incharge | Sqm | 1963 | 2018-06-20 |  |  | 1963
65 | White Pebbles Providing and laying at work site rounded white pebbles from approved quality pebbles being of minimum size 25mm dia. Being free of dust, dirt and other impurities including loading, unloading all other taxes and excluding GST, transportation,etc. complete as specified by Engineer in charge | Kg | 176 | 2018-06-20 |  |  | 176
66 | Providing and fixing at work site FRP (Fibre Reinforced Plastic) Butterfly Benches sculpture of size4'X5'x18’’ having 3 layers of FRP with total thickness of 3-5mm each as per detailed drawing & design and natural colour pigments with duco paint & PU coating over it as approved by the Engineer In charge of the work. The fibre sculpture consists of 3 layers with all necessary procedures of manufacturing including clay model to fibre product. The Butterfly Benches is of moulded FRP into various live appearances & having MS ature as required & further treatment and special hand effects to get finished look. The item includes all labour, tools, equipment, scaffolding, transportation, loading & unloading, all other taxes and excluding GST etc. complete with proper fixtures and fasteners, necessary for installation and as directed by the Engineer In charge of the work. | No | 11796 | 2018-06-20 |  |  | 11796
67 | Providing and fixing at work site FRP (Fibre Reinforced Plastic) Dinosaur Dustbin sculpture of size 4'X2.5’ having 3 layers of FRP with total thickness of 3-5mm each as per detailed drawing & design and natural colour pigments with duco paint & PU coating over it as approved by the Engineer In charge of the work. The fibre sculpture consists of 3 layers with all ecessary procedures of manufacturing including clay model to fibre product. The Dinosaur Dustbin is of moulded FRP into various live appearances & having MS armature as required & further treatment and special hand effects to get finished look .The item includes all labour, tools, equipment, scaffolding, transportation, loading & unloading, all other taxes and excliding GST etc. complete with proper fixtures and fasteners, necessary for installation and as directed by the Engineer In charge of the work. | No | 14012 | 2018-06-20 |  |  | 14012
68 | Providing and fixing at work site FRP (Fibre Reinforced Plastic) Peacock sculpture of size 12’X5’ having 4 layers of FRP with 3-5mm thickness of each layer as per detailed drawing & design and natural colour pigments with duco paint & PU coating over it as approved by the Engineer In charge of the work. The fibre sculpture consists of 4 layers with all necessary procedures of manufacturing including clay model to fibre product. The Peacock is of moulded FRP sheet into various live appearances & having MS armature as required & further treatment and special hand effects to get finished look. The item includes all labour, tools, equipment, scaffolding, transportation, loading & unloading, all other taxes and excluding GST etc. complete with proper fixtures and fasteners, necessary for installation and as directed by the Engineer In charge of the work. | No | 293695 | 2018-06-20 |  |  | 293695
69 | Providing and erecting at work site FRP casting for Column for made out of 8mm thick in FRP caste with colour grooves designed to hide structural supports inside the grooves to bind it to the RCC columns from outside by FRP putti and screws including fabricating, welding, painting structural members placed over RCC structure which are exposed colouring the casing in Duco paint in antique look, including transport, loading, unloading onsite installation with all other taxes and excluding GST etc. within the PCMC limit etc. complete as per the sketch and drawing approved by architect and as directed by engineer in charge. (of measurement will be Surface area). | Sqft | 1900 | 2018-06-20 |  |  | 1900
70 | Providing and fixing at work site of FRP shelter elliptical dome type 15' on length side and 12' on width side at 8' height, roof made from 3mm thk FRP sheet supported using steel structure using MS sec on two pillars of MS pipe of 6" dia with 30' long 1.5 ft wide round (elliptical) bench made out of 3mm FRP supported by steel structure and railing made out of 3mm thk FRP sheet of 3' height with 3 entry opening of 4'-6' width with concealed Rain Drain Water Collection system and a news paper stand as per drawing specification including transport, loading, unloading,site installation,with all other taxes and excluding GST at site etc. complete as directed by Engineer incharge. | No | 350000 | 2018-06-20 |  |  | 350000
71 | Providing and erecting at work site FRP Dome of width 4610mm, length 16000mm with central height dia. 2000mm made out of 2mm thick transparant fiberglass sheet with colour grooves,designed to hide the structural supports inside the grove. The dome is reinforced using angle ISA 50mmx50mmx6mm stiffener ogf 5 nos. and transverse stiffeners of 9 nos. proper drainage of water at ends on the width side using the existing civil gutters, fixing in position with MS base plate of 100mmx10mm with 4nos. of fasterner of length of length 2.5" per plate including fabricating, welding and transport, loading, unloading,site installation,with all other taxes and excluding GST at site etc. complete as directed by Engineer incharge. | No | 320000 | 2018-06-20 |  |  | 320000
72 | Providing and fixing at work Umbrella of 5000mm dia. And height 4280mm both site finished in 2mm thick colour fiberglass sheet with designed to hide the structural supports insite the groove. The umbrella is reinforced using M.S. Pipe 12Nos. Of 40NB equispaced circumferentiall. The whole umbrella is supported on M.S. Cone made in 5mm sheet with M.S.base plate of 10mm thick and 300 mm dia. Supported on M.S. Pipe of 150NB and 3000mm in length with every exposed structural part coated with 2mm thick FRP as per detailed drawing attached including fabricating, welding and transport, loading, unloading,site installation,with all other taxes and excluding GST at site etc. complete. as directed by Engineer incharge. | No | 97750 | 2018-06-20 |  |  | 97750
73 | roviding and Fixing at work site of POP UP SPRAY 4" size (SPRINKLER) of rigid plastic on site. It is manufactured from special grade vergin polymers. Parts resistent to corrosion in treated recycled water containing chlorine and other chemicals. Strong stainless stell spring provides reliable stem retraction and withstands corrosion.Rate is inclusive of all other taxes and excluding GST, transportation, loading, unloading, laying, all reuired labour etc. complete as directed by engineer in charge .Technical specification as follows. Technical specification: 1) working pressure:1-4 kg/sqm. 2)Discharge flow:0.15-0.85 cum/Hr. 3)Radius:3 to 5.5 m 4)Inlet size: 1/2" female threaded inlet 5)Rugged ribbing case for maximum strength and durability. 6)part and full circle in one head | No | 315.65 | 2018-06-20 |  |  | 315.65
74 | Providing and Fixing at work site of POP UP SPRINKLER 9.5" of rigid plastic on site. The Pop sprinkler powerful throw permits maximum spacing and offers superior close in watering and uniform water distribution. Low pressure loss and efficient, staight through flow design conserve energy and are ideal for dirty water application. Non strippable gear drive function. Rate is inclusive of all type of taxesand excluding GST, transportation, loading, unloading, laying, all reuired labour etc.complete as directed by engineer in charge. Technical specification as follows. Technical specification: 1) working pressure:2-4 kg/sqm. 2)Discharge flow:0.35-1.86 cum/Hr. 3)Radius:6 to 13 m 4)Inlet size: 1/2" female threaded inlet 5)Rugged ribbing case for maximum strength and durability. 6)part and full circle in one head | No | 1545 | 2018-06-20 |  |  | 1545
75 | Providing, laying & jointing on site UPVC pipes of SCH 80 conforming to IS:1239 of approved make of 40mm diameter and suitable for the respective working pressures with all fittings and accessories e.g. couplings, tees bends, reducers, screwed adapters, flanged tail pieces etc. The item includes necessary excavation, fixing, fittings, refilling trenches, all labour, tools, equipment, transportation, loading & unloading, all other taxes and excluding GST etc. complete with proper fixtures and fasteners, necessary for installation as per drawing and specification attached and as directed by the Engineer In charge of the work. | Rmt | 590 | 2018-06-20 |  |  | 590
76 | Providing, laying & jointing on site UPVC pipes of SCH 80 conforming to IS:1239 of approved make of 32mm diameter and suitable for the respective working pressures with all fittings and accessories e.g. couplings, tees bends, reducers, screwed adapters, flanged tail pieces etc. The item includes necessary excavation, fixing, fittings, refilling trenches, all labour, tools, equipment, transportation, loading & unloading, all other taxes and excluding GST etc. complete with proper fixtures and fasteners, necessary for installation as per drawing and specification attached and as directed by the Engineer In charge of the work. | Rmt | 250 | 2018-06-20 |  |  | 250
77 | Providing & laying on site of flexible black tubing of 6mm size of approved make. Drip tubing is made from polyethylene and has emitters that are placed at intervals along the tube that correspond with the placement of each plant.Drip tubing is UV damage and algae growth black in colour 6 mm size with all fittings and accessories. The item includes all labour, tools, equipment, transportation, loading & unloading, all other taxes and excluding GST etc. complete with proper fixtures and fasteners, necessary for installation and as directed by the Engineer In charge of the work. | Rmt | 18 | 2018-06-20 |  |  | 18
78 | Providing and fixing at work site Dripper of 4 liter per hour discharge 75 cm center to center on the LLDPE lateral, Jain make Rate is excluding GST transportation, loading, unloading, laying, all reuired labour and all other taxes etc. as directed by the Engineer In charge. | No | 3.16 | 2018-06-20 |  |  | 3.16
79 | Providing and Fixing SAND FILTER (GRAVEL FILTER) with on site. It shoud be vertical with mushroom fitted on plate seperating sand bed and clean water chamber with a sand bed depth of about 500mm. It shoud be installed with vaccum breakers to prevent vaccum inside the filter. The shell should be provided with a drain plig at bottom to drain out fine sediments and aside hand hole to facilate easy removal of sand from the shell whenever the sand needs replacement. The filter housings should be protected by an extra durable epoxy paint from outside and black bituminous paint from onside. Transportation, loading, unloading, laying, all reuired labour etc.and all other taxes and excluding GST, As directed by Engineer incharge. Technical Specification. 1) IS 12785:1994 2) pressure rating 10 bar. 3) Inlet outlet size- 2" 4) Filtration 500 micron 5) Discharge -25000 LH (as per sizes) 6) Material : Mild steel 7) Thickness : 4mm to 6 mm. | No | 29990 | 2018-06-20 |  |  | 29990
80 | Providing & fixing on site gun metal gate valve of approved make of 63mm diameter,having wall thickness of 7mm. Pressure rating of 10 bar. The item includes all labour, tools, equipment, transportation, loading & unloading, all other taxes and excluding GST complete with proper fixtures and fasteners, necessary for installation as per drawing and specification attached and as directed by the Engineer In charge of the work. | No | 7900 | 2018-06-20 |  |  | 7900
81 | Chairs for staff : Providing & planning in position at site chair of Comfort make with gas Lift Technology for height adhjustment with Frame in wooden hot pressed ply and 40 high density foam for seat and 32 high density foam for back with cotton cloth for cover of approved desingn color. style by the engineer in charge All chairs fitted with fiber handles and revolving type PU wheets All chairs are to Protected upto the completion of work etc. complete incluiding all other taxes, loading, unloading , transportation as directed by Engineer in charge. | No | 2500 | 2018-06-20 |  |  | 2500
82 | Protection Coating: Providing & applying transparent AC-GLASSCOAT/Sulphate based by spray process. Work shall be done as per the manufacturer's instruction, Apple Chemie. (Note: Cost of scaffolding shall be paid separately Complete as directed by engineer incharge and including all other taxes & excluding GST. (Appling of UCR Masonry) | Sqm | 350 | 2018-07-09 |  |  | 350
83 | Cleaning & Surface Preparation : Surface of the Bridge shall be cleaned with AC-CLEANNER/or equivalent to remove all old stains and dirt. Simple wire brushing and cleaning wherever necessary shall be done, prior to clear application. The Pointing shall be cured for minimum 7 days before application of protection coat. complete as directed by engineer incharge and including all other taxes & excluding GST. | Sqm | 85 | 2018-07-09 |  |  | 85
84 | Rate Analysis for Vinyl Flooring for indoor sport floor thk. 6.7mm Providing and fixing Vinyl Flooring for indoor sport floor as per following - *Thickness 6.7 MM Vinyl indoor sport floor, EN 14904 (category P1), FIBA & BWF Certified *Weight 3.8 kg/m2 *Width of Roll 2 Meter *Standard Roll Length : 15 ± 10% *Sound Insulation : 22 DB *Having Sports Properties (e.g. Shock absorption & Ball rebound) *Technical Properties (e.g. Dimensional stability, Colour fastness, Chemical & Abrasion resistance *Easy to Clean. * 10 years warranty for any product & application Defect & its shall repairs at no cost by the contractor within a warranty period Including all Labour & all type of Taxes, without GST, Transpotation, Loading, unloading, etc. Complete as directed by Engineer incharge | Sqm | 4550 | 2018-07-23 |  |  | 4550
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0